STF-PIA-15-8

Question:

Please refer to the Application for Certification, Figure 1 (pg. 4).

- Please explain why there are differences in the site round-trip efficiency (“RTE”) for the different projects.

- Please explain why the RTE values provided in TS Attachment B do not match the values provided in TS Attachment C.

Response:

- The RTE variations are related to site specifics, such as variations in cabling and equipment losses that differ on a site-to-site basis.

- The Company initiated Aurora simulations before the Battery Energy Supply Agreements (“BESA”) were finalized. The Company utilized a simplified RTE assumption in its Aurora simulations as a reasonable approximation, designated in the output data noted in “TS Attachment B – BESS Operational Data.xlsb” to the Application for Certification filed on August 16, 2024. Final contractual values for RTE ultimately reflect an improvement, providing greater customer benefits than the assumed amounts in the economic analysis and associated Aurora simulation.