BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

GEORGIA POWER COMPANY

DOCKET NO. 55378

Data Request No. STF-PIA-15-9

BASIS FOR THE ASSERTION THAT THE

INFORMATION SUBMITTED IS A TRADE SECRET

As part of Georgia Power Company’s 2023 Integrated Resource Plan Update filed in Docket No. 5537 (“2023 IRP Update”), Georgia Power Company (“Georgia Power” or the “Company”) submits to the Georgia Public Service Commission its response to STF-PIA-15-9 (“Response”). In the Response, the Company has provided information and data supporting the proposed projects, including sensitive terms and conditions contained within the Engineering, Procurement, and Construction (“EPC”) Agreements and the Battery and Equipment Supply Agreements (“BESA”), pricing information, resource operational capability data, and development timelines, as well as certain information regarding the Company’s proprietary planning processes, financial data, technology screening assumptions, generic technology and resource cost information, specific resource and technology cost information, economic analyses, including confidential details regarding current and future transmission projects (the “Information”). Certain portions of the Information are trade secrets of Georgia Power and Southern Company and their affiliates and is therefore protected from public disclosure under Commission Rule 515-3-1-.11.

The trade secret portions of the Information derive economic value from not being generally known to, and not being readily ascertainable by proper means by other persons who can obtain economic value from their disclosure or use. Specifically, the trade secret portions of the Information contained herein include competitively sensitive pricing and operational capability data specific to the resources under contract and proposed to be developed. If the Information were made public, competitors, bidders, and suppliers could use the Information to unfairly manipulate the request for proposals process and competitive market to structure future bids and set an artificial price floor to arbitrarily increase prices to the detriment of the Company and its customers. Public dissemination of the Information would undermine Georgia Power’s ability to negotiate the best price and contract terms and could harm the Company’s ability to secure the best cost bids and resources for the benefit of customers.

The trade secret portions of the Information also contain competitively sensitive cost information related to available technology options, financial data used in the Company’s resource analyses, and other confidential details including data supporting resource economic evaluations. Public dissemination of the trade secret portions of the Information would allow Georgia Power’s competitors and suppliers to have access to such processes and strategies and thereby gain an unfair competitive advantage in the marketplace. Competitors would obtain an unfair advantage because they are not required to reveal similar information and can utilize such trade secret portions of the Information to manipulate pricing and timing of supply to the disadvantage of Georgia Power. Competitors would also unfairly benefit in having access and insight into the Company’s planning processes and methodologies. This competitive advantage for the Company’s suppliers and competitors would mean that Georgia Power will potentially pay higher prices to suppliers, ultimately harming Georgia Power and its customers.

The Information is subject to substantial procedures to maintain its secrecy. Only select Georgia Power and Southern Company Services personnel are granted access to the Information. Those personnel receive access only on a “need to know” basis. Parties outside the Company who have been granted access to the Information, if any, have been required to sign confidentiality agreements with respect to the Information.

STF-PIA-15-9

Question:

Please refer to Trade Secret Attachment A spreadsheet, ‘Energy Benefits tab. Please provide the workpapers calculating each of these values, including the source data from Aurora output files used for the calculations. Workpapers should be provided in electronic spreadsheet format with formulas intact.

Response:

Please see TS STF-PIA-15-9 Attachment for more information. The Aurora files were provided to PSC Staff concurrently with the certification filing on August 16, 2024.