STF-PIA-16-5

Question:

Considering that some facilities may open below their full electric capacity, how would the Company assess the eligibility a project as a large load with a staggered or delayed timeline?

Response:

Per the Territorial Act, a premises must have a connected load of 900 kW or greater at the time of initial full operation to qualify as a large load that is eligible for a choice of electric service provider. For eligible premises with a staggered, phased, or delayed timeframe, consistent with Commission precedent, the Company considers initial full operation to be when the final phase is complete.