| COMMISSIONERS: JASON SHAW, Chairman TIM G. ECHOLS, Vice-Chairman FITZ JOHNSON LAUREN “BUBBA” McDONALD TRICIA PRIDEMORE |  | REECE McALISTER EXECUTIVE DIRECTOR SALLIE TANNER EXECUTIVE SECRETARY |
| --- | --- | --- |
| # Georgia Public Service Commission |  |  |
| (404) 656-4501 (800) 282-5813 | 244 WASHINGTON STREET, SW ATLANTA, GEORGIA 30334-5701 | FAX: (404) 656-2341 psc.ga.gov |

December 18, 2024

PUBLIC DISCLOSURE

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

RE:	Docket No. 55931 / Georgia Power Company - Yates Units 8-10 Construction Monitoring

Data Request from Commission Staff (STF-PIA-4)

Dear Mr. Haswell:

Enclosed herewith, please find Commission Staff Data Request STF-PIA-4.  Georgia Power’s initial responses to this Data Request package are requested as soon as possible, but not later than January 17, 2025.

If you have any questions concerning this transmittal, please call me at 404-656-7420.

Sincerely,

Steve Roetger

Analyst

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of	)

)	Docket No. 55931

Georgia Power Company	)

Yates Units 8-10 Construction Monitoring		)

)

STAFF'S FOURTH SET OF DATA REQUESTS TO

GEORGIA POWER COMPANY

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

COMES NOW the Staff of the Georgia Public Service Commission (“Commission”) and, pursuant to the authority vested in it by the Commission pursuant to O.C.G.A. § 46-2-57, herein propounds the following interrogatories and requests for production of documents (collectively, “data requests”), to be answered under oath by designated representatives or agents of Georgia Power Company.  Staff requests that a complete set of the responses and supporting documents be filed with the Commission’s Executive Secretary in the manner set forth in Utility Rule 515-2-.04(4).  Staff requests that an original and five (5) copies be filed with the Executive Secretary of the Commission.  Accompanied therewith shall be an electronic version of the filing, which shall be made on a 3 ½ inch diskette or a CD ROM containing an electronic version of its filing in Microsoft Word® for text documents or Excel® for spreadsheets.  As contemplated by law, responses to these Data Requests are expected from Georgia Power Company on or before January 17, 2025.

## DEFINITIONS

As may be used in this document:

1.	“The Company,” “Georgia Power” or “The Utility” means Georgia Power Company and its present and former officers, employees, agents, representatives, directors, and all other persons acting or purporting to act on behalf of said Company.

- The term “you” and “your” refer to “the Company.”

- The term “person” means any natural person, corporation, corporate division, partnership, other unincorporated association, trust, government agency, or entity.

- The term “document” or “documentation” shall have the broadest possible meaning under applicable law.  “Document” or “documentation” means every writing or record of every type and description that is in the possession, custody or control of the Company including, but not limited to, correspondence, memoranda, e-mails, drafts, workpapers, summaries, stenographic or handwritten notes, studies, notices, publications, books, pamphlets, reports, surveys, minutes or statistical compilations, computer and other electronic records or tapes or printouts, including, but not limited to, electronic mail files; and copies of such writing or records containing any commentary or notation whatsoever that does not appear in the original.  The term “document” or “documentation” further includes, by way of illustration and not limitation, schedules, progress schedules, time logs, drawings, computer disks, chart projections, time tables, summaries of other documents, minutes, surveys, work sheets, drawings, comparisons, evaluations, laboratory and testing reports, telephone call records, personal diaries, calendars, personal notebooks, personal reading files, transcripts, witness statements and indices.

- The term “referring or relating to” means consisting of, containing, mentioning, suggesting, reflecting, concerning, regarding, summarizing, analyzing, discussing, involving, dealing with, emanating from, directed at, pertaining to in any way, or in any way logically or factually connected or associated with the matter discussed.

- “And” and “or” as used herein shall be construed both conjunctively and disjunctively and each shall include the other whenever such construction will serve to bring within the scope of these discovery requests any information that would not otherwise be brought within their scope.

- The singular as used herein shall include the plural and the masculine gender shall include the feminine and the neuter.

- “Identify” or “identifying” or “identification” when used in reference to a person other than a natural person means to state:  the full name of the person and any names under which it conducts business; the present or last known address of the person; and, the present or last known telephone number of the person.

- “Identify” or “identifying” or “identification” when used in reference to a document means to provide with respect to each document requested to be identified by these discovery requests a description of the document that is sufficient for purposes of a request to produce or a subpoena duces tecum, including the following:

    - the type of document (e.g., letter, memorandum, etc.);

    - the date of the document; the title or label of the document;

    - the Bates number or other identifier used to number the document for use in  litigation; the identity of the originator;

    - the identity of each person to whom it was sent;

    - the identity of each person to whom a copy or copies were sent;

    - a summary of the contents of the document;

    - the name and last known address of each person who presently has possession, custody or control of the document;

    - if any such document was, but is no longer, in your possession,  custody or control or is no longer in existence, state whether it: (1) is missing or lost; (2) has been destroyed; or (3) has been transferred voluntarily or involuntarily, and if so, state the circumstances surrounding the authorization for each such disposition and the date of such disposition.

- “Identify”, “identifying” or identity” when used in reference to a communication should be read to include information regarding the date of the communication, whether the communication was written or oral, the identity of all parties and witnesses to the communication, the substance of what was said and/or transpired and, if written, the identity of the document(s) containing or referring to the communication.

## INSTRUCTIONS

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

  - the privilege asserted and its basis.

  - the nature of the information withheld;

  - the subject matter of the document, except to the extent that you claim it is privileged.

      - The answers provided should first restate the question asked and also provide the name of the Company employee(s) or agents responsible for compiling and providing the information contained in each answer.

      - These data requests are to be answered with reference to all information in your possession, custody or control or reasonably available to you.  These discovery requests are intended to include requests for information, which is physically within your possession, custody or control as well as in the possession, custody or control of your agents, attorneys, or other third parties from which such documents may be obtained.

      - If any data request cannot be responded to or answered in full, answer to the extent possible and specify the reasons for your inability to answer fully.

      - These data requests are continuing in nature and require supplemental responses should information unknown to you at the time you serve your responses to these interrogatories subsequently become known.

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

- the privilege asserted and its basis.

- a log should be provided identifying starting and ending bates numbers.

- the nature of the information withheld;

- the subject matter of the document, except to the extent that you claim it is privileged.

- a description of the document to which the privilege applies.

PUBLIC DISCLOSURE

The following data requests (“DRs”) all refer to the Company’s Plant Yates’ Units 8-10 EPC Agreement (“EPC”).  Please refer to the language from the EPC (bold font) to respond to these DRs:

  - EPC Agreement Introduction:  On October 3, 2023, Contractor and Purchaser entered into an Agreement for Preliminary Engineering and Development Services and Option to Purchase Equipment (“Preliminary Agreement”), which: xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxx;

- Preliminary Engineering Service (“PES”) Agreement Exhibit A:  Item 11 General Subcontractor

- The scope is not descriptive for this section of the agreement, could the Company provide the intended scope for this agreement?

- PES Agreement Exhibit A:  Item 12 Engineering

- The scope is not descriptive for this section of the agreement, could the Company provide the intended scope for this agreement?

  - 1.16 “Date of Commencement” means the date that the Purchaser authorizes the Contractor to begin performance of the Work.

- What is the “Date of Commencement” for this agreement? And Where can it be found?

  - General Conditions (“GC”) 2.1.1 - Engineering and Design: xxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx, xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- Out of the three sequential phases of design work, which phase formed the basis of the Contract Price?

- Can the GPSC CM be given access to these documents?

- Is the schedule for each phase part of the baseline file submitted on April 19, 2024?

  - GC 2.1.2 - Procurement and Construction: xxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- Has the Company (Purchaser) identified a list of inspections they will be performing for the duration of this project?

  - GC 9.1 - Purchaser Specifications: Contractor shall carefully review and analyze the Purchaser Specifications xxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- What process does GPC have in place to review any omission, ambiguity or uncertainty raised by the Contractor that was potentially not discoverable by reasonable due diligence prior to the effective date? This applies to the evaluation of changes when they arise.

  - GC 9.2 - Contractor’s Design Documents - xxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- What does this review process of the Design Documents by the Purchaser look like?

  - GC 9.3 - Contractor’s Maintenance of the Design Documents. Contractor shall maintain a set of Design Documents xxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- What does the Contractors’ process for updating the Design Documents reflecting all changes looks like?

- How has the Company assured themselves that the design documents used during the construction and commissioning will be current and the documents that the Contractor hands-off at the end of the project will have as-builts incorporated?

  - GC 16 - Purchaser Inspector and Equipment Expeditor

- What does the Company’s process look like for making a determination on acting on the need of a Purchaser Inspector and Equipment inspector?

  - GC-18.1.1 - Taxes xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- Has the Contractor applied for this “dual operator” status? If not, what is the plan to apply? If yes, what is the current status of the application or when is the decision expected?

  - GC-24.1 Rate of Progress - xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- What is the rate of progress that forms the basis of the Contract Price and Contract Time? Can the rate of progress curve be shared with the GPSC CM?

  - GC41 - 41. xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxs.

- For each of the xxxxxxxxx categories please share the xxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxx that make up the total of xxxxxxxxxx in each category.  For the xxxxxxxxxxxxx contingency please provide the xxxxxx the Company assumed would be utilized for the xxxxxxxxxxxxxxxxxxxxxxx.  Also, include each month a reconciliation of the adds or draws from each of the xxxxxxxxxxxxxxxx category amounts.

  - Special Conditions (“SC”) -10.3 - Contractor shall develop, for Purchaser’s review and approval, xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- Has this plan been developed?

- If so, has it been reviewed and approved?

- If so, can the approved plan be shared with the GPSC CM?

  - SC-13.7.2-Required Progress Curves

- Typically, on a lumpsum turnkey projects percent complete curves are provided for showing the progress curves. Please provide the basis for such curve(s). For example, the Total Project should include all Consortium Scope (Design from all Consortium partners, Procurement from all Consortium partners, Construction and Commissiong from all Consortium partners).

  - Attachment No. 6 - xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

What is the basis for this xxxxxxxxxxxxxxxx? What are the rules for utilizing this xxxxxxxxxx? How much of the xxxxxxxxxxxx is associated with this x xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx?

  - Attachment No 6 – xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx

- Has the review of the LL database completed?

- Can a listing at a topic level of the lessons incorporated into Plant Yates project be shared with GPSC CM?

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of	)

)	Docket No. 55931

Georgia Power Company - 	)

Yates Units 8-10 Construction Monitoring		)

)

# CERTIFICATE OF SERVICE

I hereby certify that the foregoing Staff’s Data Request STF-PIA-4 in the above-referenced docket was filed with the Commission's Executive Secretary, an electronic copy of same was served upon all parties and persons listed below via electronic mail, or unless otherwise indicated, as follows:

| Sallie Tanner Executive Secretary Georgia Public Service Comm. 244 Washington Street, SW Atlanta, GA 30334 stanner@psc.state.ga.us | Jeremiah Haswell Director, Regulatory Affairs Georgia Power Company Bin 10230 241 Ralph McGill Boulevard, NE Atlanta, GA 30308-3374 JHASWELL@southernco.com | Steven Hewitson Troutman Pepper Hamilton Sanders LLP 600 Peachtree Street NE, Suite 3000 Atlanta, GA 30308-2216 steven.hewitson@troutmansanders.com |
| --- | --- | --- |
| Justin Pawluk, Staff Attorney Georgia Public Service Commission 244 Washington Street, SW Atlanta, GA 30334 jpawluk@psc.state.ga.us |  |  |

So certified, this 18th day of December 2024.

__________________________________

Steve Roetger

Analyst