## Summary - Winter (111)
2025 IRP Winter Summary - 111-MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Winter Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2025 | 20868.017 | REDACTED | 2025 | 16264.1827 | REDACTED | 2025 | 28.31% | REDACTED | 2025 | 24.61% | 25.5% | 2025 | -601.8796 | REDACTED
2026 | 21828.6151 | REDACTED | 2026 | 16891.5548 | REDACTED | 2026 | 29.23% | REDACTED | 2026 | 24.61% | 25.5% | 2026 | -780.7348 | REDACTED
2027 | 23443.2136 | REDACTED | 2027 | 18333.6628 | REDACTED | 2027 | 27.87% | REDACTED | 2027 | 24.61% | 25.5% | 2027 | -598.381 | REDACTED
2028 | 23960.3327 | REDACTED | 2028 | 20319.5967 | REDACTED | 2028 | 17.92% | REDACTED | 2028 | 25.13% | 26% | 2028 | 1466.5488 | REDACTED
2029 | 23654.0978 | REDACTED | 2029 | 22167.9086 | REDACTED | 2029 | 6.704% | REDACTED | 2029 | 25.13% | 26% | 2029 | 4085.6648 | REDACTED
2030 | 23764.5536 | REDACTED | 2030 | 23612.3527 | REDACTED | 2030 | 0.6446% | REDACTED | 2030 | 25.13% | 26% | 2030 | 5782.7108 | REDACTED
2031 | 21670.9521 | REDACTED | 2031 | 24468.8562 | REDACTED | 2031 | -11.43% | REDACTED | 2031 | 25.13% | 26% | 2031 | 8948.096 | REDACTED
2032 | 21648.299 | REDACTED | 2032 | 24900.3289 | REDACTED | 2032 | -13.06% | REDACTED | 2032 | 25.13% | 26% | 2032 | 9510.6715 | REDACTED
2033 | 21596.0033 | REDACTED | 2033 | 25212.5012 | REDACTED | 2033 | -14.34% | REDACTED | 2033 | 25.13% | 26% | 2033 | 9953.6033 | REDACTED
2034 | 21595.2803 | REDACTED | 2034 | 25450.6985 | REDACTED | 2034 | -15.15% | REDACTED | 2034 | 25.13% | 26% | 2034 | 10252.3939 | REDACTED
2035 | 19810.7328 | REDACTED | 2035 | 25652.5523 | REDACTED | 2035 | -22.77% | REDACTED | 2035 | 25.13% | 26% | 2035 | 12289.5307 | REDACTED
2036 | 19230.616 | REDACTED | 2036 | 25768.4959 | REDACTED | 2036 | -25.37% | REDACTED | 2036 | 25.13% | 26% | 2036 | 13014.7334 | REDACTED
2037 | 19168.5123 | REDACTED | 2037 | 25987.2674 | REDACTED | 2037 | -26.24% | REDACTED | 2037 | 25.13% | 26% | 2037 | 13350.5963 | REDACTED
2038 | 18840.2774 | REDACTED | 2038 | 26215.6917 | REDACTED | 2038 | -28.13% | REDACTED | 2038 | 25.13% | 26% | 2038 | 13964.6694 | REDACTED
2039 | 14235.0107 | REDACTED | 2039 | 26604.6491 | REDACTED | 2039 | -46.49% | REDACTED | 2039 | 25.13% | 26% | 2039 | 19056.6571 | REDACTED
2040 | 13883.5488 | REDACTED | 2040 | 26917.0844 | REDACTED | 2040 | -48.42% | REDACTED | 2040 | 25.13% | 26% | 2040 | 19799.0842 | REDACTED
2041 | 13871.4787 | REDACTED | 2041 | 27294.6095 | REDACTED | 2041 | -49.18% | REDACTED | 2041 | 25.13% | 26% | 2041 | 20283.5695 | REDACTED
2042 | 13878.6423 | REDACTED | 2042 | 27687.3587 | REDACTED | 2042 | -49.87% | REDACTED | 2042 | 25.13% | 26% | 2042 | 20767.8717 | REDACTED
2043 | 13886.5156 | REDACTED | 2043 | 28117.7713 | REDACTED | 2043 | -50.61% | REDACTED | 2043 | 25.13% | 26% | 2043 | 21298.5942 | REDACTED
2044 | 13896.0483 | REDACTED | 2044 | 28543.6902 | REDACTED | 2044 | -51.32% | REDACTED | 2044 | 25.13% | 26% | 2044 | 21822.0342 | REDACTED

## Summary - Summer (111)
2025 IRP Summer Summary - 111-MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Summer Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2025 | 22006.8573 | REDACTED | 2025 | 17802.1122 | REDACTED | 2025 | 23.62% | REDACTED | 2025 | 18.58% | 19.5% | 2025 | -897.8813 | REDACTED
2026 | 22965.2169 | REDACTED | 2026 | 18770.3022 | REDACTED | 2026 | 22.35% | REDACTED | 2026 | 18.58% | 19.5% | 2026 | -708.203 | REDACTED
2027 | 24289.7238 | REDACTED | 2027 | 20551.6604 | REDACTED | 2027 | 18.19% | REDACTED | 2027 | 18.58% | 19.5% | 2027 | 79.5478 | REDACTED
2028 | 24936.0474 | REDACTED | 2028 | 22730.0321 | REDACTED | 2028 | 9.705% | REDACTED | 2028 | 19.09% | 20% | 2028 | 2132.0861 | REDACTED
2029 | 24474.6315 | REDACTED | 2029 | 24621.456 | REDACTED | 2029 | -0.5963% | REDACTED | 2029 | 19.09% | 20% | 2029 | 4845.9104 | REDACTED
2030 | 23204.7197 | REDACTED | 2030 | 25840.7159 | REDACTED | 2030 | -10.2% | REDACTED | 2030 | 19.09% | 20% | 2030 | 7567.7819 | REDACTED
2031 | 23344.4225 | REDACTED | 2031 | 26553.7628 | REDACTED | 2031 | -12.09% | REDACTED | 2031 | 19.09% | 20% | 2031 | 8277.2133 | REDACTED
2032 | 23347.5415 | REDACTED | 2032 | 26894.9792 | REDACTED | 2032 | -13.19% | REDACTED | 2032 | 19.09% | 20% | 2032 | 8680.4331 | REDACTED
2033 | 23296.1011 | REDACTED | 2033 | 27267.6039 | REDACTED | 2033 | -14.56% | REDACTED | 2033 | 19.09% | 20% | 2033 | 9175.6148 | REDACTED
2034 | 23286.0006 | REDACTED | 2034 | 27550.038 | REDACTED | 2034 | -15.48% | REDACTED | 2034 | 19.09% | 20% | 2034 | 9522.0529 | REDACTED
2035 | 21104.4058 | REDACTED | 2035 | 27789.827 | REDACTED | 2035 | -24.06% | REDACTED | 2035 | 19.09% | 20% | 2035 | 11989.2011 | REDACTED
2036 | 20980.434 | REDACTED | 2036 | 27938.7182 | REDACTED | 2036 | -24.91% | REDACTED | 2036 | 19.09% | 20% | 2036 | 12290.4806 | REDACTED
2037 | 20828.2254 | REDACTED | 2037 | 28205.5629 | REDACTED | 2037 | -26.16% | REDACTED | 2037 | 19.09% | 20% | 2037 | 12760.462 | REDACTED
2038 | 20610.0742 | REDACTED | 2038 | 28411.8354 | REDACTED | 2038 | -27.46% | REDACTED | 2038 | 19.09% | 20% | 2038 | 13224.2535 | REDACTED
2039 | 16123.3759 | REDACTED | 2039 | 28675.1422 | REDACTED | 2039 | -43.77% | REDACTED | 2039 | 19.09% | 20% | 2039 | 18024.5115 | REDACTED
2040 | 15828.2705 | REDACTED | 2040 | 28839.0773 | REDACTED | 2040 | -45.12% | REDACTED | 2040 | 19.09% | 20% | 2040 | 18514.8396 | REDACTED
2041 | 15786.602 | REDACTED | 2041 | 29218.8566 | REDACTED | 2041 | -45.97% | REDACTED | 2041 | 19.09% | 20% | 2041 | 19008.7696 | REDACTED
2042 | 15787.9037 | REDACTED | 2042 | 29618.9757 | REDACTED | 2042 | -46.7% | REDACTED | 2042 | 19.09% | 20% | 2042 | 19483.951 | REDACTED
2043 | 15793.7497 | REDACTED | 2043 | 30030.3379 | REDACTED | 2043 | -47.41% | REDACTED | 2043 | 19.09% | 20% | 2043 | 19967.977 | REDACTED
2044 | 15801.5998 | REDACTED | 2044 | 30513.9138 | REDACTED | 2044 | -48.22% | REDACTED | 2044 | 19.09% | 20% | 2044 | 20535.9949 | REDACTED

## Summary - Winter
2025 IRP Winter Summary - MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Winter Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2025 | 20868.017 | REDACTED | 2025 | 16264.1827 | REDACTED | 2025 | 28.31% | REDACTED | 2025 | 24.61% | 25.5% | 2025 | -601.8796 | REDACTED
2026 | 21828.6151 | REDACTED | 2026 | 16891.5548 | REDACTED | 2026 | 29.23% | REDACTED | 2026 | 24.61% | 25.5% | 2026 | -780.7348 | REDACTED
2027 | 23443.2136 | REDACTED | 2027 | 18333.6628 | REDACTED | 2027 | 27.87% | REDACTED | 2027 | 24.61% | 25.5% | 2027 | -598.381 | REDACTED
2028 | 23960.3327 | REDACTED | 2028 | 20319.5967 | REDACTED | 2028 | 17.92% | REDACTED | 2028 | 25.13% | 26% | 2028 | 1466.5488 | REDACTED
2029 | 23654.0978 | REDACTED | 2029 | 22167.9086 | REDACTED | 2029 | 6.704% | REDACTED | 2029 | 25.13% | 26% | 2029 | 4085.6648 | REDACTED
2030 | 23764.5536 | REDACTED | 2030 | 23612.3527 | REDACTED | 2030 | 0.6446% | REDACTED | 2030 | 25.13% | 26% | 2030 | 5782.7108 | REDACTED
2031 | 21670.9521 | REDACTED | 2031 | 24468.8562 | REDACTED | 2031 | -11.43% | REDACTED | 2031 | 25.13% | 26% | 2031 | 8948.096 | REDACTED
2032 | 21648.299 | REDACTED | 2032 | 24900.3289 | REDACTED | 2032 | -13.06% | REDACTED | 2032 | 25.13% | 26% | 2032 | 9510.6715 | REDACTED
2033 | 21596.0033 | REDACTED | 2033 | 25212.5012 | REDACTED | 2033 | -14.34% | REDACTED | 2033 | 25.13% | 26% | 2033 | 9953.6033 | REDACTED
2034 | 21595.2803 | REDACTED | 2034 | 25450.6985 | REDACTED | 2034 | -15.15% | REDACTED | 2034 | 25.13% | 26% | 2034 | 10252.3939 | REDACTED
2035 | 19810.7328 | REDACTED | 2035 | 25652.5523 | REDACTED | 2035 | -22.77% | REDACTED | 2035 | 25.13% | 26% | 2035 | 12289.5307 | REDACTED
2036 | 15265.323 | REDACTED | 2036 | 25768.4959 | REDACTED | 2036 | -40.76% | REDACTED | 2036 | 25.13% | 26% | 2036 | 16980.0264 | REDACTED
2037 | 15203.2193 | REDACTED | 2037 | 25987.2674 | REDACTED | 2037 | -41.5% | REDACTED | 2037 | 25.13% | 26% | 2037 | 17315.8893 | REDACTED
2038 | 14874.9844 | REDACTED | 2038 | 26215.6917 | REDACTED | 2038 | -43.26% | REDACTED | 2038 | 25.13% | 26% | 2038 | 17929.9624 | REDACTED
2039 | 14235.0107 | REDACTED | 2039 | 26604.6491 | REDACTED | 2039 | -46.49% | REDACTED | 2039 | 25.13% | 26% | 2039 | 19056.6571 | REDACTED
2040 | 13883.5488 | REDACTED | 2040 | 26917.0844 | REDACTED | 2040 | -48.42% | REDACTED | 2040 | 25.13% | 26% | 2040 | 19799.0842 | REDACTED
2041 | 13871.4787 | REDACTED | 2041 | 27294.6095 | REDACTED | 2041 | -49.18% | REDACTED | 2041 | 25.13% | 26% | 2041 | 20283.5695 | REDACTED
2042 | 13878.6423 | REDACTED | 2042 | 27687.3587 | REDACTED | 2042 | -49.87% | REDACTED | 2042 | 25.13% | 26% | 2042 | 20767.8717 | REDACTED
2043 | 13886.5156 | REDACTED | 2043 | 28117.7713 | REDACTED | 2043 | -50.61% | REDACTED | 2043 | 25.13% | 26% | 2043 | 21298.5942 | REDACTED
2044 | 13896.0483 | REDACTED | 2044 | 28543.6902 | REDACTED | 2044 | -51.32% | REDACTED | 2044 | 25.13% | 26% | 2044 | 21822.0342 | REDACTED

## Summary - Summer
2025 IRP Summer Summary - MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Summer Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2025 | 22006.8573 | REDACTED | 2025 | 17802.1122 | REDACTED | 2025 | 23.62% | REDACTED | 2025 | 18.58% | 19.5% | 2025 | -897.8813 | REDACTED
2026 | 22965.2169 | REDACTED | 2026 | 18770.3022 | REDACTED | 2026 | 22.35% | REDACTED | 2026 | 18.58% | 19.5% | 2026 | -708.203 | REDACTED
2027 | 24289.7238 | REDACTED | 2027 | 20551.6604 | REDACTED | 2027 | 18.19% | REDACTED | 2027 | 18.58% | 19.5% | 2027 | 79.5478 | REDACTED
2028 | 24936.0474 | REDACTED | 2028 | 22730.0321 | REDACTED | 2028 | 9.705% | REDACTED | 2028 | 19.09% | 20% | 2028 | 2132.0861 | REDACTED
2029 | 24474.6315 | REDACTED | 2029 | 24621.456 | REDACTED | 2029 | -0.5963% | REDACTED | 2029 | 19.09% | 20% | 2029 | 4845.9104 | REDACTED
2030 | 23204.7197 | REDACTED | 2030 | 25840.7159 | REDACTED | 2030 | -10.2% | REDACTED | 2030 | 19.09% | 20% | 2030 | 7567.7819 | REDACTED
2031 | 23344.4225 | REDACTED | 2031 | 26553.7628 | REDACTED | 2031 | -12.09% | REDACTED | 2031 | 19.09% | 20% | 2031 | 8277.2133 | REDACTED
2032 | 23347.5415 | REDACTED | 2032 | 26894.9792 | REDACTED | 2032 | -13.19% | REDACTED | 2032 | 19.09% | 20% | 2032 | 8680.4331 | REDACTED
2033 | 23296.1011 | REDACTED | 2033 | 27267.6039 | REDACTED | 2033 | -14.56% | REDACTED | 2033 | 19.09% | 20% | 2033 | 9175.6148 | REDACTED
2034 | 23286.0006 | REDACTED | 2034 | 27550.038 | REDACTED | 2034 | -15.48% | REDACTED | 2034 | 19.09% | 20% | 2034 | 9522.0529 | REDACTED
2035 | 21104.4058 | REDACTED | 2035 | 27789.827 | REDACTED | 2035 | -24.06% | REDACTED | 2035 | 19.09% | 20% | 2035 | 11989.2011 | REDACTED
2036 | 17136.141 | REDACTED | 2036 | 27938.7182 | REDACTED | 2036 | -38.67% | REDACTED | 2036 | 19.09% | 20% | 2036 | 16134.7736 | REDACTED
2037 | 16983.9324 | REDACTED | 2037 | 28205.5629 | REDACTED | 2037 | -39.79% | REDACTED | 2037 | 19.09% | 20% | 2037 | 16604.755 | REDACTED
2038 | 16765.7812 | REDACTED | 2038 | 28411.8354 | REDACTED | 2038 | -40.99% | REDACTED | 2038 | 19.09% | 20% | 2038 | 17068.5465 | REDACTED
2039 | 16123.3759 | REDACTED | 2039 | 28675.1422 | REDACTED | 2039 | -43.77% | REDACTED | 2039 | 19.09% | 20% | 2039 | 18024.5115 | REDACTED
2040 | 15828.2705 | REDACTED | 2040 | 28839.0773 | REDACTED | 2040 | -45.12% | REDACTED | 2040 | 19.09% | 20% | 2040 | 18514.8396 | REDACTED
2041 | 15786.602 | REDACTED | 2041 | 29218.8566 | REDACTED | 2041 | -45.97% | REDACTED | 2041 | 19.09% | 20% | 2041 | 19008.7696 | REDACTED
2042 | 15787.9037 | REDACTED | 2042 | 29618.9757 | REDACTED | 2042 | -46.7% | REDACTED | 2042 | 19.09% | 20% | 2042 | 19483.951 | REDACTED
2043 | 15793.7497 | REDACTED | 2043 | 30030.3379 | REDACTED | 2043 | -47.41% | REDACTED | 2043 | 19.09% | 20% | 2043 | 19967.977 | REDACTED
2044 | 15801.5998 | REDACTED | 2044 | 30513.9138 | REDACTED | 2044 | -48.22% | REDACTED | 2044 | 19.09% | 20% | 2044 | 20535.9949 | REDACTED

## Energies
2025 IRP Summer Summary - MG0 Scenario
Energies (GWh)
Year | GPC | SYSTEM
2025 | 95293917.6231 | REDACTED
2026 | 102557353.1547 | REDACTED
2027 | 116340385.8061 | REDACTED
2028 | 133718703.6302 | REDACTED
2029 | 148717716.8525 | REDACTED
2030 | 159371509.3433 | REDACTED
2031 | 165701513.4139 | REDACTED
2032 | 169286736.2301 | REDACTED
2033 | 171651767.1605 | REDACTED
2034 | 174043138.0776 | REDACTED
2035 | 176364942.6061 | REDACTED
2036 | 178514934.4604 | REDACTED
2037 | 180221331.3275 | REDACTED
2038 | 182039805.6692 | REDACTED
2039 | 184137417.9624 | REDACTED
2040 | 186390964.9808 | REDACTED
2041 | 188280014.7331 | REDACTED
2042 | 190385531.9571 | REDACTED
2043 | 192475547.0239 | REDACTED
2044 | 194890011.0362 | REDACTED