## Dispatchable DSO - Winter
2025 IRP Winter Dispatchable Demand-Side Options
Program and Planning Capacities (MW)
Retail Operating Companies Summary - Program Capacity | [6 empty] | GPC - Program Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 225.581 | 2.73 | 126.21 | 202.9356 | 202.9356 | 32.5 | 0 | 792.8923
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 225.581 | 2.73 | 126.21 | 204.7531 | 204.7531 | 32.5 | 0 | 796.5273
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 225.581 | 2.73 | 126.21 | 206.5353 | 206.5353 | 32.5 | 0 | 800.0917
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 225.581 | 2.73 | 126.21 | 206.7821 | 206.7821 | 32.5 | 0 | 800.5852
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 225.581 | 2.73 | 126.21 | 208.0317 | 208.0317 | 32.5 | 0 | 803.0845
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 225.581 | 2.73 | 126.21 | 209.2478 | 209.2478 | 32.5 | 0 | 805.5167
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 225.581 | 2.73 | 126.21 | 211.3973 | 211.3973 | 32.5 | 0 | 809.8156
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 225.581 | 2.73 | 126.21 | 212.3814 | 212.3814 | 32.5 | 0 | 811.7839
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 225.581 | 2.73 | 126.21 | 213.7968 | 213.7968 | 32.5 | 0 | 814.6147
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 225.581 | 2.73 | 126.21 | 215.253 | 215.253 | 32.5 | 0 | 817.527
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 225.581 | 2.73 | 126.21 | 216.2055 | 216.2055 | 32.5 | 0 | 819.432
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 225.581 | 2.73 | 126.21 | 216.888 | 216.888 | 32.5 | 0 | 820.7971
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 225.581 | 2.73 | 126.21 | 219.3445 | 219.3445 | 32.5 | 0 | 825.71
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 225.581 | 2.73 | 126.21 | 230.2416 | 230.2416 | 32.5 | 0 | 847.5042
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 225.581 | 2.73 | 126.21 | 234.5258 | 234.5258 | 32.5 | 0 | 856.0726
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 225.581 | 2.73 | 126.21 | 238.8749 | 238.8749 | 32.5 | 0 | 864.7709
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 225.581 | 2.73 | 126.21 | 242.8815 | 242.8815 | 32.5 | 0 | 872.7841
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 225.581 | 2.73 | 126.21 | 247.899 | 247.899 | 32.5 | 0 | 882.8191
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 225.581 | 2.73 | 126.21 | 253.2281 | 253.2281 | 32.5 | 0 | 893.4772
2044 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2044 | 225.581 | 2.73 | 126.21 | 258.1747 | 258.1747 | 32.5 | 0 | 903.3704
[7 empty] | ELCC | 40% | 95% | 95% | 95% | 95% | 85% | 95%
[7 empty] | Demand Comparison Factor | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Loss Expansion Factor | 102.1% | 103.6% | 103.6% | 103.9% | 103.9% | 105% | 103.9%
[7 empty] | Total | 40.85% | 98.42% | 98.42% | 98.71% | 98.71% | 89.26% | 98.71%
Retail Operating Companies Summary - Planning Capacity | [6 empty] | GPC - Planning Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 92.1444 | 2.6868 | 124.2123 | 200.3192 | 200.3192 | 29.0101 | 0 | 648.692
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 92.1444 | 2.6868 | 124.2123 | 202.1133 | 202.1133 | 29.0101 | 0 | 652.2801
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 92.1444 | 2.6868 | 124.2123 | 203.8725 | 203.8725 | 29.0101 | 0 | 655.7986
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 92.1444 | 2.6868 | 124.2123 | 204.1161 | 204.1161 | 29.0101 | 0 | 656.2857
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 92.1444 | 2.6868 | 124.2123 | 205.3496 | 205.3496 | 29.0101 | 0 | 658.7528
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 92.1444 | 2.6868 | 124.2123 | 206.55 | 206.55 | 29.0101 | 0 | 661.1536
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 92.1444 | 2.6868 | 124.2123 | 208.6717 | 208.6717 | 29.0101 | 0 | 665.3971
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 92.1444 | 2.6868 | 124.2123 | 209.6432 | 209.6432 | 29.0101 | 0 | 667.34
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 92.1444 | 2.6868 | 124.2123 | 211.0403 | 211.0403 | 29.0101 | 0 | 670.1343
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 92.1444 | 2.6868 | 124.2123 | 212.4777 | 212.4777 | 29.0101 | 0 | 673.0091
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 92.1444 | 2.6868 | 124.2123 | 213.418 | 213.418 | 29.0101 | 0 | 674.8896
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 92.1444 | 2.6868 | 124.2123 | 214.0917 | 214.0917 | 29.0101 | 0 | 676.237
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 92.1444 | 2.6868 | 124.2123 | 216.5165 | 216.5165 | 29.0101 | 0 | 681.0866
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 92.1444 | 2.6868 | 124.2123 | 227.2731 | 227.2731 | 29.0101 | 0 | 702.5999
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 92.1444 | 2.6868 | 124.2123 | 231.5021 | 231.5021 | 29.0101 | 0 | 711.0578
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 92.1444 | 2.6868 | 124.2123 | 235.7951 | 235.7951 | 29.0101 | 0 | 719.6438
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 92.1444 | 2.6868 | 124.2123 | 239.7501 | 239.7501 | 29.0101 | 0 | 727.5538
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 92.1444 | 2.6868 | 124.2123 | 244.7029 | 244.7029 | 29.0101 | 0 | 737.4593
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 92.1444 | 2.6868 | 124.2123 | 249.9632 | 249.9632 | 29.0101 | 0 | 747.9801
2044 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2044 | 92.1444 | 2.6868 | 124.2123 | 254.8461 | 254.8461 | 29.0101 | 0 | 757.7458

## Dispatchable DSO - Summer
2025 IRP Summer Dispatchable Demand-Side Options
Program and Planning Capacities (MW)
Retail Operating Companies Summary - Program Capacity | [6 empty] | GPC - Program Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 225.581 | 4.93 | 130.21 | 222.4985 | 222.4985 | 32.5 | 0 | 838.218
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 225.581 | 4.93 | 130.21 | 225.6165 | 225.6165 | 32.5 | 0 | 844.454
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 225.581 | 4.93 | 130.21 | 227.6962 | 227.6962 | 32.5 | 0 | 848.6134
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 225.581 | 4.93 | 130.21 | 227.3024 | 227.3024 | 32.5 | 0 | 847.8258
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 225.581 | 4.93 | 130.21 | 228.8837 | 228.8837 | 32.5 | 0 | 850.9883
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 225.581 | 4.93 | 130.21 | 230.6931 | 230.6931 | 32.5 | 0 | 854.6072
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 225.581 | 4.93 | 130.21 | 233.3411 | 233.3411 | 32.5 | 0 | 859.9032
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 225.581 | 4.93 | 130.21 | 234.8419 | 234.8419 | 32.5 | 0 | 862.9049
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 225.581 | 4.93 | 130.21 | 236.9251 | 236.9251 | 32.5 | 0 | 867.0712
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 225.581 | 4.93 | 130.21 | 239.0332 | 239.0332 | 32.5 | 0 | 871.2875
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 225.581 | 4.93 | 130.21 | 240.5333 | 240.5333 | 32.5 | 0 | 874.2875
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 225.581 | 4.93 | 130.21 | 242.5482 | 242.5482 | 32.5 | 0 | 878.3173
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 225.581 | 4.93 | 130.21 | 245.5841 | 245.5841 | 32.5 | 0 | 884.3891
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 225.581 | 4.93 | 130.21 | 248.5471 | 248.5471 | 32.5 | 0 | 890.3151
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 225.581 | 4.93 | 130.21 | 251.5968 | 251.5968 | 32.5 | 0 | 896.4146
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 225.581 | 4.93 | 130.21 | 258.2829 | 258.2829 | 32.5 | 0 | 909.7868
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 225.581 | 4.93 | 130.21 | 263.2612 | 263.2612 | 32.5 | 0 | 919.7434
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 225.581 | 4.93 | 130.21 | 268.5502 | 268.5502 | 32.5 | 0 | 930.3213
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 225.581 | 4.93 | 130.21 | 273.8961 | 273.8961 | 32.5 | 0 | 941.0132
2044 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2044 | 225.581 | 4.93 | 130.21 | 279.0342 | 279.0342 | 32.5 | 0 | 951.2893
[7 empty] | ELCC Factor | 40% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Demand Comparison Factor | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Loss Expansion Factor | 102.1% | 103.6% | 103.6% | 103.9% | 103.9% | 105% | 103.9%
[7 empty] | Total | 40.85% | 103.6% | 103.6% | 103.9% | 103.9% | 105% | 103.9%
Retail Operating Companies Summary - Planning Capacity | [6 empty] | GPC - Planning Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 92.1444 | 5.1073 | 134.8937 | 231.1893 | 231.1893 | 34.1296 | 0 | 728.6535
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 92.1444 | 5.1073 | 134.8937 | 234.4291 | 234.4291 | 34.1296 | 0 | 735.1331
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 92.1444 | 5.1073 | 134.8937 | 236.59 | 236.59 | 34.1296 | 0 | 739.455
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 92.1444 | 5.1073 | 134.8937 | 236.1808 | 236.1808 | 34.1296 | 0 | 738.6366
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 92.1444 | 5.1073 | 134.8937 | 237.8238 | 237.8238 | 34.1296 | 0 | 741.9227
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 92.1444 | 5.1073 | 134.8937 | 239.704 | 239.704 | 34.1296 | 0 | 745.6829
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 92.1444 | 5.1073 | 134.8937 | 242.4554 | 242.4554 | 34.1296 | 0 | 751.1857
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 92.1444 | 5.1073 | 134.8937 | 244.0149 | 244.0149 | 34.1296 | 0 | 754.3047
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 92.1444 | 5.1073 | 134.8937 | 246.1794 | 246.1794 | 34.1296 | 0 | 758.6337
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 92.1444 | 5.1073 | 134.8937 | 248.3699 | 248.3699 | 34.1296 | 0 | 763.0147
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 92.1444 | 5.1073 | 134.8937 | 249.9285 | 249.9285 | 34.1296 | 0 | 766.1319
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 92.1444 | 5.1073 | 134.8937 | 252.0221 | 252.0221 | 34.1296 | 0 | 770.3192
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 92.1444 | 5.1073 | 134.8937 | 255.1766 | 255.1766 | 34.1296 | 0 | 776.6281
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 92.1444 | 5.1073 | 134.8937 | 258.2553 | 258.2553 | 34.1296 | 0 | 782.7856
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 92.1444 | 5.1073 | 134.8937 | 261.4242 | 261.4242 | 34.1296 | 0 | 789.1233
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 92.1444 | 5.1073 | 134.8937 | 268.3715 | 268.3715 | 34.1296 | 0 | 803.0179
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 92.1444 | 5.1073 | 134.8937 | 273.5442 | 273.5442 | 34.1296 | 0 | 813.3633
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 92.1444 | 5.1073 | 134.8937 | 279.0397 | 279.0397 | 34.1296 | 0 | 824.3544
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 92.1444 | 5.1073 | 134.8937 | 284.5945 | 284.5945 | 34.1296 | 0 | 835.4639
2044 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2044 | 92.1444 | 5.1073 | 134.8937 | 289.9332 | 289.9332 | 34.1296 | 0 | 846.1415

## Non-Dispatchable DSO - Winter
2025 IRP Summer Dispatchable Demand-Side Options
Capacities (MW)
Year | GPC | System
2025 | 213.8244 | REDACTED
2026 | 315.9749 | REDACTED
2027 | 418.4478 | REDACTED
2028 | 505.7726 | REDACTED
2029 | 592.5579 | REDACTED
2030 | 677.4677 | REDACTED
2031 | 761.1992 | REDACTED
2032 | 844.9554 | REDACTED
2033 | 928.7098 | REDACTED
2034 | 1008.3352 | REDACTED
2035 | 1079.5033 | REDACTED
2036 | 1144.4741 | REDACTED
2037 | 1208.0948 | REDACTED
2038 | 1272.5055 | REDACTED
2039 | 1292.132 | REDACTED
2040 | 1308.8204 | REDACTED
2041 | 1325.5626 | REDACTED
2042 | 1343.1903 | REDACTED
2043 | 1359.7868 | REDACTED
2044 | 1359.7868 | REDACTED

## Non-Dispatchable DSO - Summer
2025 IRP Summer Dispatchable Demand-Side Options
Capacities (MW)
Year | GPC | System
2025 | 226.1506 | REDACTED
2026 | 332.6056 | REDACTED
2027 | 439.6012 | REDACTED
2028 | 530.612 | REDACTED
2029 | 620.8949 | REDACTED
2030 | 709.6119 | REDACTED
2031 | 797.089 | REDACTED
2032 | 884.5796 | REDACTED
2033 | 972.0693 | REDACTED
2034 | 1055.7621 | REDACTED
2035 | 1133.5359 | REDACTED
2036 | 1205.723 | REDACTED
2037 | 1276.3003 | REDACTED
2038 | 1347.4085 | REDACTED
2039 | 1371.4542 | REDACTED
2040 | 1393.6048 | REDACTED
2041 | 1415.7919 | REDACTED
2042 | 1438.4321 | REDACTED
2043 | 1460.6638 | REDACTED
2044 | 1460.6638 | REDACTED