STF-JKA-1-1

Question:

Regarding the 2025 IRP Load Forecast provide the following electronically, with all formulae intact:

- Provide all documentation and reports produced that describe the development of Georgia Power and the Southern Company load forecasts (peak demand and energy),

- Provide all workpapers, models, and adjustments used to develop the Georgia Power and Southern Company load forecasts (peak demand and energy), including load sensitivities.

- Provide all workpapers, models, and adjustments used to develop the Georgia Power and Southern Company load forecasts that were modeled in Aurora (peak demand and energy).

- If the Company derives different load forecast projections based on different assumptions of CO2, natural gas price forecasts, and environmental regulation in the Resource Mix Study, provide all derivations of the load forecasts (peak demand and energy). Provide all workpapers showing how the load forecasts were derived separately based on the different natural gas, CO2, and environmental regulation views.

- To the extent the Georgia Power and Southern Company load forecasts presented in the IRP Report are different than what was modeled in Aurora, please explain the differences.

- See the Company’s response to STF-JKA-2-10 in the 2023 IRP Update, and provide by retail operating company and the System, for the period 2015 to 2025, the analysis performed to derive the diversity percentages on a ten-year average. If the Company has an analysis for another period, please provide that analysis.

Response:

- The B2025 Load and Energy Forecast TRADE SECRET included with the 2025 IRP filing is the documentation describing the development of the Georgia Power official baseline load forecast (peak demand and energy). Excel versions of all the data tables presented in the Technical Appendix were also provided to Commission Staff as workpapers on January 31, 2025.

There is no documentation specific to the development of an overall Southern Retail Operating Company forecast. Rather, forecasts are developed for each of the operating companies (Alabama Power, Georgia Power, and Mississippi Power). Georgia Power’s peak and energy forecasts have already been provided in Section 2 of the B2025 Load and Energy Forecast TRADE SECRET. The aggregated Southern Company load forecast (peak demand and energy) is included in STF-JKA-1-1 Attachment A.

- The initial IRP filing on January 31, 2025, included working models for the Georgia Power short-term energy forecast; long-term energy forecast; peak forecast; and large load realization forecast. Five Georgia Power workpapers were also included, which were used in the development of the Budget 2025 baseline forecast. Workpapers, models, and adjustments of other operating companies are not provided as they contain the proprietary and confidential information of other companies.

Workpapers for Georgia Power’s forecast adjustments, including cogeneration, demand-side management (“DSM”), behind-the-meter solar, and electric vehicles (“EVs”) are provided in STF-JKA-1-1 Attachment B TRADE SECRET; STF-JKA-1-1 Attachment C TRADE SECRET; STF-JKA-1-1 Attachment D TRADE SECRET; and STF-JKA-1-1 Attachment E TRADE SECRET, respectively.

Georgia Power load sensitivities are described and summarized in Section 8.1 of the B2025 Load and Energy Forecast TRADE SECRET. These sensitivities are created by changing one concept at a time while keeping all other variables at their baseline levels and then reporting the forecasts of energy and summer and winter peak loads. As described in Section 8.1, the Company developed seven sensitivities: (1) high economic growth; (2) low economic growth; (3) no load growth; (4) high growth in large load customers; (5) load growth with no DSM growth; (6) load growth with aggressive DSM growth; and (7) load growth using a 20-year normal definition of weather. The results for each sensitivity, including energy, summer peak demand, and winter peak demand are summarized in Attachments 8.1-1, 8.1-2 and 8.1-3, respectively in B2025 Load and Energy Forecast TRADE SECRET.  Southern Company sensitivities are not available since these were only done for Georgia Power based on IRP rules and stipulations.

For the High and Low Economic Growth sensitivities, the economic drivers in the baseline models are replaced by scenarios of high and low economic growth scenarios produced by S&P Global. The inputs from S&P Global for both the High and Low Economic Growth sensitivities are provided in STF-JKA-1-1 Attachment F TRADE SECRET (for short-term models) and STF-JKA-1-1 Attachment G TRADE SECRET (for long-term models).

Workpapers for the High Economic Growth sensitivity are found in the following attachments:

STF-JKA-1-1 Attachment H TRADE SECRET

STF-JKA-1-1 Attachment I TRADE SECRET

STF-JKA-1-1 Attachment J TRADE SECRET

STF-JKA-1-1 Attachment K TRADE SECRET

STF-JKA-1-1 Attachment L TRADE SECRET

STF-JKA-1-1 Attachment M TRADE SECRET

STF-JKA-1-1 Attachment N TRADE SECRET

STF-JKA-1-1 Attachment O TRADE SECRET

STF-JKA-1-1 Attachment P TRADE SECRET

Workpapers for the Low Economic Growth sensitivity are found in the following attachments:

STF-JKA-1-1 Attachment Q TRADE SECRET

STF-JKA-1-1 Attachment R TRADE SECRET

STF-JKA-1-1 Attachment S TRADE SECRET

STF-JKA-1-1 Attachment T TRADE SECRET

STF-JKA-1-1 Attachment U TRADE SECRET

STF-JKA-1-1 Attachment V TRADE SECRET

STF-JKA-1-1 Attachment W TRADE SECRET

STF-JKA-1-1 Attachment X TRADE SECRET

STF-JKA-1-1 Attachment Y TRADE SECRET

The No Load Growth sensitivity simply holds the forecast constant at Base Case 2025 levels, so there are no workpapers available.

The High Growth (P95) in Large Customers is treated as an external adjustment. In this case, the baseline forecast of large loads is replaced with the high growth (P95) forecast of large loads. As a result, it does not impact the short-term models, the long-term models, or the peak demand models. Workpapers for this sensitivity are found in STF-JKA-1-1 Attachment Z TRADE SECRET; STF-JKA-1-1 Attachment AA TRADE SECRET; and STF-JKA-1-1 Attachment AB TRADE SECRET

Similar to the High Growth (P95) in Large Customers sensitivity, DSM is treated as an external adjustment. The No DSM and Aggressive DSM (“Supply Side DSM”) cases are created by deleting the baseline DSM in the No DSM sensitivity and replacing the baseline DSM numbers with higher DSM numbers in the Supply Side DSM sensitivity. Please refer to STF-JKA-1-1 Attachment AC TRADE SECRET and STF-JKA-1-1 Attachment AD TRADE SECRET for the No DSM workpapers. For Supply Side DSM case, please refer to STF-JKA-1-1 Attachment AE TRADE SECRET; STF-JKA-1-1 Attachment AF TRADE SECRET; and STF-JKA-1-1 Attachment AG TRADE SECRET.

The 20-year weather sensitivity changes the definition of normal weather from a 44-year average to a 20-year average. This change is run through the short-term, long-term models, and peak models. For the workpapers used in the 20-yr weather sensitivity, please refer to the following attachments:

STF-JKA-1-1 Attachment AH TRADE SECRET

STF-JKA-1-1 Attachment AI TRADE SECRET

STF-JKA-1-1 Attachment AJ TRADE SECRET

STF-JKA-1-1 Attachment AK TRADE SECRET

STF-JKA-1-1 Attachment AL TRADE SECRET

STF-JKA-1-1 Attachment AM TRADE SECRET

STF-JKA-1-1 Attachment AN TRADE SECRET

STF-JKA-1-1 Attachment AO TRADE SECRET

STF-JKA-1-1 Attachment AP TRADE SECRET

STF-JKA-1-1 Attachment AQ TRADE SECRET

STF-JKA-1-1 Attachment AR TRADE SECRET

- Workpapers, models, and adjustments used to develop Georgia Power’s sensitivities and/or scenarios are presented within this data request. The Company cannot provide the Southern Company workpapers used to calculate the load forecast in Aurora, as this information contains other retail operating company proprietary information.

- The Company considers two different views of load growth across its planning scenarios—a Standard view, i.e. the Budget 2025 forecast, and a Standard+HG0 delta view. The Standard+HG0 delta view considers a different load forecast projection consistent with a higher view of future natural gas prices than is behind the Standard load forecast view. For the analyses supporting this IRP, the Company did not consider load forecasts that were based on different assumptions regarding CO2 or environmental regulation.

Relative to the Standard view, the Standard+HG0 delta load forecast view is adjusted based on load forecast differences between two cases from EIA’s Annual Energy Outlook (“AEO”). The AEO includes projections of electricity consumption in the southeastern U.S. for both its Reference case and its Low Oil & Gas Supply case. The Low Oil & Gas Supply case is less optimistic about future improvements in gas production and availability than the Reference case and thus has higher prices for natural gas. The percent difference between electricity load growth in the southeast in these two cases is calculated in STF-JKA-1-1 Attachment AS. This percent difference is applied to the Company’s Standard forecast of load growth to yield the Standard+HG0 delta forecast, as provided in STF-JKA-1-1 Attachment AT TRADE SECRET.

- As compared to the Georgia Power and Southern Company load forecasts presented in the 2025 IRP, the Resource Mix Study identifies the capacity resources needed to meet the aggregate retail operating companies’ needs. The system peak demand forecasts are derived by summing each retail operating companies’ non-coincident peaks (“NCPs”) and then applying a load diversity factor. This process is carried out by applying the diversified peak load change set used within the Aurora model. When this change set file is applied within Aurora, hourly loads that correspond to the System (SOCOnoSPC) peak hour will be adjusted so that the sum of the retail operating companies will equal the winter diversified system peak demand. For example, in year 2030 the System winter peak occurs on January 24 at hour 8. The retail operating companies’ loads in that same hour are adjusted proportionally to sum to the winter diversified system peak. In this case, the Company NCP of 23,612 MW corresponds with the System peak, so it is adjusted from 23,612 MW to 23,450 MW. This change set only applies to hours where the sum of the retail operating companies’ NCPs exceeds the system diversified peak demand, which was January 24 at hour 8.

- See STF-JKA-1-1 Attachment AU TRADE SECRET for the diversity percentage calculations requested.