## Summary
Battery Capacity Values for B25 IRP
[5 empty] | Suggested from IRP | [6 empty] | Assumptions:
Winter |  |  |  |  | FINAL | Summer | [5 empty] | - Values were simulated with an additional 30GW (39.7GW total) of diverse solar
Total | Avg Trended | Avg Trended Rounded | Incremental | FINAL with 39.7GW of Solar | FINAL Aurora Tranches | Total | Avg Trended | Avg Trended Rounded | Incremental | FINAL with 39.7GW of Solar | FINAL Aurora Tranches
1000 | 99.41% | 100% | 1000 | 99.41% | 95% | 1000 | 97.66% | 100% | 1000 | 97.66% | 100%
2000 | 98.57% | 100% | 1000 | 97.72% | 0.95 | 2000 | 97.58% | 100% | 1000 | 97.51% | 0.95
3000 | 95.78% | 95% | 1000 | 90.21% | 0.95 | 3000 | 99.61% | 100% | 1000 | 100% | 0.95
4000 | 92.07% | 90% | 1000 | 80.95% | 75% | 4000 | 100% | 100% | 1000 | 100% | 100%
5000 | 88.09% | 90% | 1000 | 72.13% | 0.75 | 5000 | 100% | 100% | 1000 | 100% | 0.75
6000 | 84.17% | 85% | 1000 | 64.57% | 0.75 | 6000 | 100% | 100% | 1000 | 100% | 0.75
7000 | 80.44% | 80% | 1000 | 58.07% | 50% | 7000 | 100% | 100% | 1000 | 100% | 75%
8000 | 76.88% | 75% | 1000 | 51.93% |  | 8000 | 96.49% | 95% | 1000 | 71.88%
9000 | 73.37% | 75% | 1000 | 45.34% |  | 9000 | 91.74% | 90% | 1000 | 53.79%
10000 | 69.81% | 70% | 1000 | 37.8% | 25% | 10000 | 86.49% | 85% | 1000 | 39.27% | 30%
11000 | 66.16% | 65% | 1000 | 29.61% |  | 11000 | 81.38% | 80% | 1000 | 30.27%
12000 | 62.5% | 65% | 1000 | 22.28% |  | 12000 | 76.96% | 75% | 1000 | 28.31%
13000 | 59.15% | 60% | 1000 | 18.95% |  | 13000 | 73.2% | 75% | 1000 | 28.07%
14000 | 56.25% | 55% | 1000 | 18.53% |  | 14000 | 69.9% | 70% | 1000 | 27%
15000 | 53.72% | 55% | 1000 | 18.3% |  | 15000 | 67% | 65% | 1000 | 26.4%
These values are incremental to an embedded BESS amount of 809 MW
Unit Name |  | Winter | Summer
Battery_2022_IRP_MCGRAU_FORD | 265 | 100% | 100%
Battery_2028_IRP_Exp_Generic | 300 | 100% | 100%
Battery_Moody | 49.5 | 90% | 35% | **Hybrid Facility has a total 100% capacity value as a percentage of the POI, solar and BESS portions listed separately in the ledger
Battery_MOSSY_BRANCH_DEMO | 65 | 100% | 100%
Battery_MPC Walnut Grove | 1.285 | 100% | 100%
Battery_Robins | 128 | 90% | 25% | **Hybrid Facility has a total 100% capacity value as a percentage of the POI, solar and BESS portions listed separately in the ledger

## Backup-Winter
WINTER
Nominal Solar (MW) | Incremental Battery Installed (MW) | Total Average ELCC (%) | Cumulative Capacity (MW) | Tranche Capacity (MW) | Incremental ELCC Capacity (%) | Rounded Incremental (%)
39700 | 1000 | 99.41% | 994.143 | 994.143 | 99.41% | 100%
39700 | 2000 | 98.57% | 1971.3514 | 977.2084 | 97.72% | 100%
39700 | 3000 | 95.78% | 2873.4785 | 902.1271 | 90.21% | 90%
39700 | 4000 | 92.07% | 3682.9506 | 809.4721 | 80.95% | 80%
39700 | 5000 | 88.09% | 4404.2815 | 721.331 | 72.13% | 70%
39700 | 6000 | 84.17% | 5049.9571 | 645.6756 | 64.57% | 65%
39700 | 7000 | 80.44% | 5630.6879 | 580.7308 | 58.07% | 60%
39700 | 8000 | 76.88% | 6150.0315 | 519.3436 | 51.93% | 50%
39700 | 9000 | 73.37% | 6603.384 | 453.3524 | 45.34% | 45%
39700 | 10000 | 69.81% | 6981.3401 | 377.9562 | 37.8% | 40%
39700 | 11000 | 66.16% | 7277.4233 | 296.0832 | 29.61% | 30%
39700 | 12000 | 62.5% | 7500.1841 | 222.7607 | 22.28% | 20%
39700 | 13000 | 59.15% | 7689.6677 | 189.4836 | 18.95% | 20%
39700 | 14000 | 56.25% | 7875 | 185.3323 | 18.53% | 20%
39700 | 15000 | 53.72% | 8058 | 183 | 18.3% | 20%
Actual ELCC Values
[7 empty] | 1000 | 0.98962 |  | 6.0682e-21 | -2.4507e-16 | 3.7468e-12 | -2.6591e-08 | 4.8567e-05 | 0.96866
[7 empty] | 2000 | 1
[7 empty] | 3000 | 0.94577
[7 empty] | 5000 | 0.8803
[7 empty] | 7000 | 0.8101
[7 empty] | 10000 | 0.69288
[7 empty] | 12000 | 0.62767
[7 empty] | 15000 | 0.56076
B25 Actual ELCC Values
[8 empty] | New Shapes |  | Old Shapes |  | Average
[7 empty] | GW | Winter | Non Winter | Winter | Non Winter | Winter | Non Winter
[7 empty] | 1 | 1.0266 | 0.97074 | 0.9526 | 0.98246 | 0.98962 | 0.9766
[7 empty] | 2 | 1.0176 | 0.96213 | 1.0133 | 0.98954 | 1 | 0.97583
[7 empty] | 3 | 0.92115 | 0.99134 | 0.97039 | 1.0008 | 0.94577 | 0.99607
[7 empty] | 5 | 0.77781 | 1.0903 | 0.98279 | 1.09 | 0.8803 | 1
[7 empty] | 7 | 0.6777 | 1.0345 | 0.94249 | 1.0285 | 0.8101 | 1
[7 empty] | 10 | 0.57352 | 0.85217 | 0.81223 | 0.87773 | 0.69288 | 0.86495
[7 empty] | 12 | 0.5324 | 0.76773 | 0.72295 | 0.77149 | 0.62767 | 0.76961
[7 empty] | 15 | 0.48592 | 0.72165 | 0.6356 | 0.71899 | 0.56076 | 0.72032

## Backup-Summer
SUMMER
Nominal Solar (MW) | Incremental Battery Installed (MW) | Total Average ELCC (%) | Cumulative Capacity (MW) | Tranche Capacity (MW) | Incremental ELCC Capacity (%) | Rounded Incremental (%)
39700 | 1000 | 97.66% | 976.5985 | 976.5985 | 97.66% | 100%
39700 | 2000 | 97.58% | 1951.6691 | 975.0707 | 97.51% | 100%
39700 | 3000 | 99.61% | 2988.2134 | 1036.5443 | 100% | 100%
39700 | 4000 | 100% | 4000 | 1011.7866 | 100% | 100%
39700 | 5000 | 100% | 5000 | 1000 | 100% | 100%
39700 | 6000 | 100% | 6000 | 1000 | 100% | 100%
39700 | 7000 | 100% | 7000 | 1000 | 100% | 100%
39700 | 8000 | 96.49% | 7718.8453 | 718.8453 | 71.88% | 70%
39700 | 9000 | 91.74% | 8256.7574 | 537.9121 | 53.79% | 55%
39700 | 10000 | 86.49% | 8649.4802 | 392.7229 | 39.27% | 40%
39700 | 11000 | 81.38% | 8952.2224 | 302.7421 | 30.27% | 30%
39700 | 12000 | 76.96% | 9235.2999 | 283.0776 | 28.31% | 30%
39700 | 13000 | 73.2% | 9516 | 280.7001 | 28.07% | 30%
39700 | 14000 | 69.9% | 9786 | 270 | 27% | 25%
39700 | 15000 | 67% | 10050 | 264 | 26.4% | 25%
[7 empty] | Actual ELCC Values |  |  | 8.7794e-16 | -1.3805e-11 | 7.1382e-08 | -0.00013144 | 1.0496
[7 empty] | 1000 | 0.9766 |  | -3.6309e-17 | 2.4449e-12 | -5.0846e-08 | 0.0003759 | 0.10873
[7 empty] | 2000 | 0.97583
[7 empty] | 3000 | 0.99607
[7 empty] | 5000 | 1
[7 empty] | 7000 | 1
[7 empty] | 10000 | 0.86495
[7 empty] | 12000 | 0.76961
[7 empty] | 15000 | 0.72032
B25 Actual ELCC Values
[8 empty] | New Shapes |  | Old Shapes |  | Average
[7 empty] | GW | Winter | Non Winter | Winter | Non Winter | Winter | Non Winter
[7 empty] | 1 | 1.0266 | 0.97074 | 0.9526 | 0.98246 | 0.98962 | 0.9766
[7 empty] | 2 | 1.0176 | 0.96213 | 1.0133 | 0.98954 | 1 | 0.97583
[7 empty] | 3 | 0.92115 | 0.99134 | 0.97039 | 1.0008 | 0.94577 | 0.99607
[7 empty] | 5 | 0.77781 | 1.0903 | 0.98279 | 1.09 | 0.8803 | 1
[7 empty] | 7 | 0.6777 | 1.0345 | 0.94249 | 1.0285 | 0.8101 | 1
[7 empty] | 10 | 0.57352 | 0.85217 | 0.81223 | 0.87773 | 0.69288 | 0.86495
[7 empty] | 12 | 0.5324 | 0.76773 | 0.72295 | 0.77149 | 0.62767 | 0.76961
[7 empty] | 15 | 0.48592 | 0.72165 | 0.6356 | 0.71899 | 0.56076 | 0.72032