## Summary
SE Wind Capacity Values for B25 IRP
Assumptions:
Winter |  |  |  |  | Summer |  |  |  |  | - Rounded ELCC Values were based on a collection of (6) SE Wind sites equally weighted
Total | Incremental | Incremental ELCC | FINAL Rounded ELCC | FINAL Aurora Tranches | Total | Incremental | Incremental ELCC | FINAL Rounded ELCC | FINAL Aurora Tranches | within the SOCO footprint
1000 | 1000 | 42.36% | 40% | 35% | 1000 | 1000 | 12.43% | 10% | 5% | - Includes existing PPA embedded wind from outside of footprint
2000 | 1000 | 39.88% | 40% |  | 2000 | 1000 | 8.896% | 10%
3000 | 1000 | 37.79% | 40% |  | 3000 | 1000 | 6.163% | 5%
4000 | 1000 | 36.04% | 35% |  | 4000 | 1000 | 4.139% | 5%
5000 | 1000 | 34.57% | 35% |  | 5000 | 1000 | 2.735% | 5%
6000 | 1000 | 33.35% | 35% |  | 6000 | 1000 | 1.863% | 0%
7000 | 1000 | 32.31% | 30% |  | 7000 | 1000 | 1.435% | 0%
8000 | 1000 | 31.42% | 30% |  | 8000 | 1000 | 1.364% | 0%
9000 | 1000 | 30.63% | 30% | 30% | 9000 | 1000 | 1.301% | 0% | 0%
10000 | 1000 | 29.87% | 30% |  | 10000 | 1000 | 1.28% | 0%
11000 | 1000 | 29.11% | 30% |  | 11000 | 1000 | 1.19% | 0%
12000 | 1000 | 28.29% | 30% |  | 12000 | 1000 | 1.13% | 0%
13000 | 1000 | 27.38% | 25% |  | 13000 | 1000 | 1.06% | 0%
14000 | 1000 | 26.3% | 25% |  | 14000 | 1000 | 0.94% | 0%
15000 | 1000 | 25.03% | 25% |  | 15000 | 1000 | 0.88% | 0%
16000 | 1000 | 23.5% | 25% | 20% | 16000 | 1000 | 0.72% | 0% | 0%
17000 | 1000 | 21.67% | 20% |  | 17000 | 1000 | 0.59% | 0%
18000 | 1000 | 19.5% | 20% |  | 18000 | 1000 | 0.49% | 0%
19000 | 1000 | 16.92% | 15% |  | 19000 | 1000 | 0.42% | 0%
20000 | 1000 | 13.89% | 15% |  | 20000 | 1000 | 0.38% | 0%

## Backup-Winter
WINTER
Total Wind (MW) | Incremental (MW) | Total Average ELCC (%) | Cumulative Capacity (MW) | Tranche Capacity (MW) | Incremental ELCC Capacity (%) | Rounded Incremental (%)
1000 | 1000 | 42.36% | 423.6027 | 423.6027 | 42.36% | 40%
2000 | 1000 | 41.12% | 822.4076 | 398.8049 | 39.88% | 40%
3000 | 1000 | 40.01% | 1200.2924 | 377.8848 | 37.79% | 40%
4000 | 1000 | 39.02% | 1560.6429 | 360.3505 | 36.04% | 35%
5000 | 1000 | 38.13% | 1906.3531 | 345.7102 | 34.57% | 35%
6000 | 1000 | 37.33% | 2239.8253 | 333.4722 | 33.35% | 35%
7000 | 1000 | 36.61% | 2562.9698 | 323.1445 | 32.31% | 30%
8000 | 1000 | 35.97% | 2877.205 | 314.2353 | 31.42% | 30% | Actual Average ELCC Values
9000 | 1000 | 35.37% | 3183.4577 | 306.2527 | 30.63% | 30% | 1000 | 43.42% | -2.0493e-14 | 7.6924e-10 | -1.4563e-05 | 0.43742
10000 | 1000 | 34.82% | 3482.1627 | 298.705 | 29.87% | 30% | 2000 | 40.8%
11000 | 1000 | 34.3% | 3773.263 | 291.1003 | 29.11% | 30% | 3000 | 38.41%
12000 | 1000 | 33.8% | 4056.2098 | 282.9467 | 28.29% | 30% | 5000 | 38.44%
13000 | 1000 | 33.31% | 4329.9622 | 273.7525 | 27.38% | 25% | 8000 | 36.6%
14000 | 1000 | 32.81% | 4592.9879 | 263.0257 | 26.3% | 25% | 10000 | 35.19%
15000 | 1000 | 32.29% | 4843.2625 | 250.2746 | 25.03% | 25% | 15000 | 31.64%
16000 | 1000 | 31.74% | 5078.2697 | 235.0072 | 23.5% | 25% | 20000 | 29.18%
17000 | 1000 | 31.15% | 5295.0016 | 216.7319 | 21.67% | 20%
18000 | 1000 | 30.5% | 5489.9582 | 194.9566 | 19.5% | 20%
19000 | 1000 | 29.78% | 5659.1478 | 169.1896 | 16.92% | 15%
20000 | 1000 | 28.99% | 5798.087 | 138.9391 | 13.89% | 15%

## Backup-Summer
SUMMER
Total Wind (MW) | Incremental (MW) | Total Average ELCC (%) | Cumulative Capacity (MW) | Tranche Capacity (MW) | Incremental ELCC Capacity (%) | Rounded Incremental (%)
1000 | 1000 | 12.43% | 124.2529 | 124.2529 | 12.43% | 10%
2000 | 1000 | 10.66% | 213.2123 | 88.9594 | 8.896% | 10%
3000 | 1000 | 9.161% | 274.8434 | 61.6311 | 6.163% | 5%
4000 | 1000 | 7.906% | 316.2307 | 41.3872 | 4.139% | 5%
5000 | 1000 | 6.872% | 343.5773 | 27.3467 | 2.735% | 5%
6000 | 1000 | 6.037% | 362.2058 | 18.6284 | 1.863% | 0%
7000 | 1000 | 5.379% | 376.5574 | 14.3516 | 1.435% | 0%
8000 | 1000 | 4.877% | 390.1925 | 13.6351 | 1.364% | 0% | Actual Average ELCC Values
9000 | 1000 | 4.48% | 403.2 | 13.0075 | 1.301% | 0% | 1000 | 12.42% | -3.6708e-14 | 1.5478e-09 | -2.2033e-05 | 0.14478
10000 | 1000 | 4.16% | 416 | 12.8 | 1.28% | 0% | 2000 | 10.72%
11000 | 1000 | 3.89% | 427.9 | 11.9 | 1.19% | 0% | 3000 | 9.347%
12000 | 1000 | 3.66% | 439.2 | 11.3 | 1.13% | 0% | 5000 | 6.294%
13000 | 1000 | 3.46% | 449.8 | 10.6 | 1.06% | 0% | 8000 | 5.271%
14000 | 1000 | 3.28% | 459.2 | 9.4 | 0.94% | 0% | 10000 | 4.31%
15000 | 1000 | 3.12% | 468 | 8.8 | 0.88% | 0% | 15000 | 3.708%
16000 | 1000 | 2.97% | 475.2 | 7.2 | 0.72% | 0% | 20000 | 2.999%
17000 | 1000 | 2.83% | 481.1 | 5.9 | 0.59% | 0%
18000 | 1000 | 2.7% | 486 | 4.9 | 0.49% | 0%
19000 | 1000 | 2.58% | 490.2 | 4.2 | 0.42% | 0%
20000 | 1000 | 2.47% | 494 | 3.8 | 0.38% | 0%