STF-JKA-1-12

Question:

Regarding the Natural Gas Price Forecast, provide the following electronically, with all formulae intact.

a. Provide all workpapers used to derive the low, medium, and high natural gas price forecasts (in nominal dollars) and show where the source of the information was taken from and how it was prepared for input into Aurora.

b. Provide a narrative description of the methodology used to prepare the low, medium and high natural gas price forecasts.

c. Explain if the forecast methodology has changed compared to the methodology used to prepare the natural gas price forecasts (low, medium and high) in the 2023 IRP Update.

d. Confirm the forecast is presented as a Henry Hub forecast, without delivery or transportation costs included. If not, please provide the underlying Henry Hub forecast without delivery or transportation costs.

e. Please provide the derivation of the delivery and transportation costs by unit as modeled in Aurora.

f. Provide any additional workpapers that were used to enter fuel cost information into the Aurora database.

g. If any other assumptions were made regarding fuel consumption limits, storage assumptions, etc., please provide all workpapers that were used to prepare those natural gas input assumptions for submission to Aurora.

h. Provide any other current natural gas price forecasts from any other source that are in the Company’s possession.

Response:

- STF-JKA-1-12 Attachment A TRADE SECRET provides the construction of the annual long-term, nominal natural gas price forecasts from AEO projections and the Company’s forecast of inflation. STF-JKA-1-12 Attachment B TRADE SECRET provides the construction of the monthly short-term, nominal natural gas price forecast. It also provides the creation of monthly values from the long-term annual average values using monthly shaping percentages in row 6 on tab “HH Gas Prices.” These workpapers show the calculation of nominal Henry Hub natural gas prices. The Company uses delivered natural gas prices in Aurora; see response to subpart (e).

- A description of the methodology used to prepare the low, medium, and high natural gas price forecasts is provided in Section 3.5 of Technical Appendix Volume 2, Resource Mix Study TRADE SECRET submitted on January 31, 2025. The U.S. Energy Information Administration’s (“EIA”) Annual Energy Outlook (“AEO”) natural gas price projections are provided annually in real values, and the Company escalates them at its forecast of inflation.

- The methodology used to produce the natural gas price forecasts to support this IRP has not changed from the methodology used for the 2023 IRP Update.

- The forecasts presented in response to subpart (a) above and described in the response to subpart (b) above all are for natural gas at the Henry Hub (without delivery or transportation costs).

- There are four components of the Company’s forecasts of delivered natural gas price used in Aurora. These components and their assembly into delivered prices are illustrated in STF-JKA-1-12 Attachment C TRADE SECRET. The following items refer to this attachment.

  - Construction of delivered prices begins with the Company’s forecast of natural gas price at the Henry Hub (as described in response to subpart (b) above). See tab “Henry Hub” in the attachment.

  - For each pipeline system serving Company facilities, there is a basis differential between marketing at the Henry Hub and marketing on that regional pipeline. See tab “Basis Diff” in the attachment.

  - For each facility, there are costs for pipeline transportation of natural gas to the facility. See tab “Transportation” in the attachment for these costs for example facilities.

  - For each facility, there is a tax rate on delivered fuel. See tab “Tax” in the attachment for the tax rate for example facilities.

  - The assembly of these components into a delivered price is shown on tab “Delivered Prices” of the attachment for each facility.

- As described in the response to subpart (e) above, the Company constructs a delivered price for a generic gas unit in each of Georgia, Alabama, and Mississippi. For entry into Aurora, these three price forecasts are aggregated into a single forecast for a generic system CT and a generic system CC. See STF-JKA-1-12 Attachment D TRADE SECRET.

- In its Aurora modeling, the Company does not place any constraints on the use of natural gas at expansion facilities. In its Aurora modeling, the Company does have limits on the aggregate capacity of CCs that can be built as described in response to STF-JKA-1-11.

- See the following attachments.

  - STF-JKA-1-12 Attachment E TRADE SECRET (Platts June 2024)

  - STF-JKA-1-12 Attachment F TRADE SECRET (Platts January 2025)

  - STF-JKA-1-12 Attachment G (STEO March 2024)

  - STF-JKA-1-12 Attachment H (STEO Dec 2024)