STF-JKA-1-15

Question: 
Regarding Hydrogen Price Forecasting, provide the following electronically with all formulae intact:

a. Confirm if hydrogen resources were modeled in this IRP. If hydrogen resources were not modeled, explain why not. If hydrogen resources were modeled, provide all workpapers used to derive assumptions including, but not limited to hydrogen fuel costs, and show where the source of information was taken from and how it was prepared for input into Aurora.

b. Provide an explanation if Georgia Power expects any hydrogen blending into the gas supply.

Response:

- Hydrogen resources were not modeled in this IRP. Hydrogen, as a fuel for electric generation, is not cost competitive with other fuels. In addition, the infrastructure needed to produce and transport the quantity of hydrogen that would be needed for electricity generation is not available. Please note that while hydrogen co-firing was an option in the proposed 111 rule, it was not included in the final rule.

- Georgia Power does not currently expect hydrogen blending into the gas supply for its fleet of resources.