STF-JKA-1-17

Question:

Concerning modeling related to EPA Section 111 Clean Air Act (CAA) rules and related case modeling (if applicable):

- Were the coal units evaluated for economic coal retirement, gas conversion, co- firing, and/or possible Carbon Capture and Sequestration (CCS)? Provide an explanation for each coal unit the Company operates. Provide copies of any analysis/workpapers developed that assessed the various compliance options with the EPA CAA 111 Final Rule for Georgia Power’s coal units.

- Explain if changes were made to the availability, costs, or operations of oil-fired resources for compliance with the EPA CAA 111 Final Rule.

- Were generic/new gas units evaluated at limited capacity factors and/or considered to utilize a hydrogen blend or co-firing? Provide an explanation for each natural gas unit the Company will operate. Provide a copy of any analysis conducted assessing the various compliance options with the EPA CAA 111 Final Rule for Georgia Power’s new gas units.

Response:

- Yes. The Company’s coal units were evaluated under all four EPA 111 Greenhouse Gas (“GHG”) Rules compliance pathways. Evaluations were performed for Plant Bowen Units 1-4 and Plant Scherer Units 1-3, and the economic analysis is included in the Unit Retirement Study in Technical Appendix Volume 1. Additionally, please see Technical Appendix Volume 1, Unit Retirement Study workpapers provided to Commission Staff on January 31, 2025, assessing the various compliance options with the EPA 111 GHG Rules for Georgia Power’s coal units. For EPA 111 GHG Rules assumptions used in the Resource Mix Study, see Technical Appendix Volume 2, Resource Mix Study. The Environmental Compliance Strategy (“ECS”) in Technical Appendix Volume 1 also discusses the Company’s options under the 111 GHG Rules, and it should be noted that the compliance options were evaluated without regard to implementation feasibility and future state plan development.

- No changes were made to the availability, costs, or operations of oil-fired resources for compliance in the scenarios that include the EPA 111 GHG Rules.

- For scenarios that include the EPA 111 GHG Rules in the Resource Mix Study, the Company assumed that new generic natural gas combined cycle (“NGCC”) units without carbon capture and sequestration (“CCS”) must limit annual operation to 40% capacity factor beginning in 2032. Generic NGCCs with CCS do not have a limit on annual operation and are available to be selected in the model beginning in 2037. Both NGCC options were available to be selected by the model in the 111 GHG Rules scenarios included in the Resource Mix Study.