STF-JKA-1-18

Question:

The EPA issued recent guidance in April of 2024 for a number of rules including the Mercury Air Toxic Standards (MATS), the Effluent Limitation Guidelines (ELG), and the Coal Combustion Residual (CCR). Explain how Georgia Power included the impacts of those new rules in the 2025 IRP Aurora modeling.

Response:

For details on the Company’s approach to comply with applicable environmental regulations, including rules for MATS, ELG, and CCR finalized in 2024, see the Company’s Environmental Compliance Strategy in Technical Appendix Volume 1.

The potential impacts of these 2024 final rules are not included in the Aurora modeling for the Resource Mix Study because there are not expected to be significant impacts to unit operating characteristics that would materially affect the long-term capacity expansion modeling results.

For the Unit Retirement Study for Plant Bowen, ELG compliance with the zero liquid discharge requirement for scrubber wastewater at Plant Bowen under the “No Cessation” pathway of the 2024 Supplemental ELG Rule is represented in the Aurora modeling by an added variable operations and maintenance cost that could potentially be incurred. See Technical Appendix Volume 1, Unit Retirement Study for details of this analysis.