STF-JKA-1-20

Question:

Regarding the Company’s retirement analysis:

- Please compare and contrast the coal retirement methodology used in the 2025 IRP versus the 2022 IRP.

- Did the Company evaluate the most optimal year to retire coal units in the coal retirement study? Provide all workpapers, notes, documentation regarding the assumptions required to evaluate optimal timing.

Response:

- The methodology used in the 2022 IRP and the 2025 IRP both compare the incremental costs and benefits of the unit being evaluated to the costs and benefits of replacement unit(s). The costs for the replacement unit in the 2022 IRP were assumed to be results from the 2,356 MW of low-cost replacement capacity identified in the 2022-2028 Capacity RFP, which was intended for the replacement of coal unit retirements. The replacement capacity cost assumption used in the 2025 IRP was assumed to be a generic natural gas combined cycle “NGCC.” The methodology used in the 2022 IRP assigned a capacity value to the unit being evaluated and to the replacement unit in order to make a direct comparison. Due to various environmental compliance pathways, the 2025 IRP methodology shifted to a total cost view so that more than one compliance pathway could be evaluated for each resource. When evaluating total costs, a capacity benefit is not assigned. Instead, capacity costs are assigned when the unit is assumed to retire.

- No, the Company did not evaluate the most optimal retirement year. The Company evaluated costs and benefits of continuing to operate coal units beyond 2028, including assessing the potential impact of various environmental compliance pathways, and is not requesting a retirement date in this IRP.