## Inputs-to-AVTool
REDACTED | Inflation
|  | Bowen Costs | [5 empty] | Scherer Costs
|  | REDACTED | Gas Conversion Capital (k$/MW) |  |  |  |  | REDACTED | Gas Conversion Capital (k$/MW)
|  | REDACTED | Gas Conditioning Yard (2024 k$) |  |  |  |  | REDACTED | Gas Conditioning Yard (2024 k$)
|  | REDACTED | Gas Lateral Capital |  |  |  |  | REDACTED | Gas Lateral Capital(100% 2024 k$)
|  | REDACTED | Bowen Gas Conversion Capital (k$ all four units) |  |  |  |  | REDACTED | Unit 1 Gas Conversion Capital (100% 2024 k$)
|  | REDACTED | Carbon Capture Plant Capital (2024 k$) |  |  |  |  | REDACTED | Unit 2 Gas Conversion Capital (100% 2024 k$)
|  | REDACTED | Carbon Pipe Cost (M$/mile) |  |  |  |  | REDACTED | Unit 3 Gas Conversion Capital (100% 2024 k$)
|  | REDACTED | Carbon Pipe Length (miles) |  |  |  |  | REDACTED | Carbon Capture Plant Capital (100% 2024 k$ per unit)
|  | REDACTED | Carbon Pipe (2024 k$) |  |  |  |  | REDACTED | Carbon Pipe Cost (M$/mile)
|  | REDACTED | metric tons carbon captured / year for all 4 units |  |  |  |  | REDACTED | Carbon Pipe Length (miles)
|  | REDACTED | Sequestration Annual Capital ($/metric ton) |  |  |  |  | REDACTED | Carbon Pipe (2024 k$) (100% 2024 k$)
|  | REDACTED | Sequestration Annual FO&M($/metric ton) |  |  |  |  | REDACTED | Unit 1 - metric tons carbon capture
|  | REDACTED | CRL Annual FO&M (2024 k$) |  |  |  |  | REDACTED | Unit 2 - metric tons carbon capture
|  | REDACTED | ZLD Annual FO&M (2024 k$) |  |  |  |  | REDACTED | Unit 3 - metric tons carbon capture
|  | REDACTED | CCS FOM per Unit (2024 k$) |  |  |  |  | REDACTED | Sequestration Annual Capital ($/metric ton)
|  | REDACTED | CCS Maint Cap |  |  |  |  | REDACTED | Sequestration Annual FO&M($/metric ton)
[8 empty] | REDACTED | CRL Annual FO&M (2024 k$)
[8 empty] | REDACTED | CCS FOM per unit (2024 k$)
[8 empty] | REDACTED | CCS MaintCap (100% k$ per unit)
[8 empty] | REDACTED | WWM O&M
Scenario | Cost Category | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Bowen U1-4: ELG "PCCC"; Retire by 12/31/2034
Bowen U1-4: ELG "No Cessation"; ZLD by 12/31/2029 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| ZLD FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Bowen U1-4: 111 "Imminent-term"; Retire by 1/1/2032 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Bowen U1-4: 111 "Medium-term"; Co-fire by 1/1/2030 & Retire by 1/1/2039 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| ZLD FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Bowen U1-4: 111 "Long-Term"; CCS by 1/1/2032 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| ZLD FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant MaintCap | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant In-Service | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Carbon Pipe | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Bowen U1-4: 111 Gas Conversion by 1/1/2030 | Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer 100% Dollars | Cost Category | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Scherer U1-3: ELG "PCCC"; Retire by 12/31/2034 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: ELG "No Cessation"; CRL by 12/31/2029 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Imminent-term"; Retire by 1/1/2032 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Medium-term"; Co-fire by 1/1/2030 & Retire by 1/1/2039 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U1 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U2 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U3 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Gas Conditioning Yard Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Long-Term"; CCS by 1/1/2032 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant MaintCap | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plants (x3) | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Carbon Pipe | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 1 - Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 2 - Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 3 - Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 1 - Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 2 - Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 3 - Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 Gas Conversion by 1/1/2030 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U1 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U2 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U3 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Gas Conditioning Yard Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer GPC Retail $ | Cost Category | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Scherer U1-3: ELG "PCCC"; Retire by 12/31/2034 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: ELG "No Cessation"; CRL by 12/31/2029 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Imminent-term"; Retire by 1/1/2032 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Medium-term"; Co-fire by 1/1/2030 & Retire by 1/1/2039 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U1 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U2 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U3 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Gas Conditioning Yard Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Long-Term"; CCS by 1/1/2032 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant MaintCap | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plants (x3) | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Carbon Pipe | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 1 - Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 2 - Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 3 - Sequestration Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 1 - Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 2 - Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Unit 3 - Sequestration FOM | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 Gas Conversion by 1/1/2030 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U1 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U2 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| U3 Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Gas Conditioning Yard Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer GPC Retail $ (CONSOLIDATED) | Cost Category | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Scherer U1-3: 111 "Medium-term"; Co-fire by 1/1/2030 & Retire by 1/1/2039 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 0 | 0 | 0
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
Scherer U1-3: 111 "Long-Term"; CCS by 1/1/2032 | CRL FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant In-Service Cap | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant Maint Cap | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Capture Plant FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Carbon Pipe | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Sequestration Maint Cap | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 0 | 0 | 0
| Sequestration FO&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 0 | 0 | 0
Scherer U1-3: 111 Gas Conversion by 1/1/2030 | WWM O&M | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED
| Conversion Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 0 | 0 | 0
| Lateral Capital | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED

## CapturePlant
Carbon Capture Retrofit - Scaled Estimate Calculations
2024-06-14
Scaling Factor Calculations
Parameter | Flue Gas Flow to CO2 Abs, acfm |  | CO2 Product Flow, lb/hr |  | Notes
Exponent | 0.6 |  | 0.6 |  | [1], Exhibit 3-6. Scaling parameters and exponents for categories 1-2: “Flue Gas Cleanup” .
Unit | Value | Calc'd Factor [2] | Value | Calc'd Factor [2]
NETL B11A-BR.95 | 1481856.375 | NA | 1004674.968 | NA | [3], Exhibit 3-4. Case B11A-BR.95 stream table, streams 20 & 29.
Bowen 1 | 2438756 | 1.3484 | 1416415.8 | 1.2289 | Bowen 1-2 Mass Balance, 756 MW (peak), IB coal, SCR, FGD, July 17, 2012. [4] Total CO2 flow rate: 1,490,964 lb/hr.
Bowen 2 | 2438756 | 1.3484 | 1416415.8 | 1.2289 | Bowen 1-2 Mass Balance, 756 MW (peak), IB coal, SCR, FGD, July 17, 2012. [4] Total CO2 flow rate: 1,490,964 lb/hr.
Bowen 3 | 2910365 | 1.4993 | 1438582.15 | 1.2404 | Bowen 3-4 Mass Balance, 950 MW (peak), IB coal, SCR, BH, FGD, March 22, 2012. [4] Total CO2 flow rate: 1,514,297 lb/hr.
Bowen 4 | 2910365 | 1.4993 | 1438582.15 | 1.2404 | Bowen 3-4 Mass Balance, 950 MW (peak), IB coal, SCR, BH, FGD, March 22, 2012. [4] Total CO2 flow rate: 1,514,297 lb/hr.
Scherer 3 | 3025455 | 1.5346 | 1961290.2 | 1.4939 | Scherer 1-4 Mass Balance, 923 MW (peak), PRB coal, SCR, FGD, October 1, 2010. [4] Total CO2 flow rate: 2,064,516 lb/hr.
Notes
[1] NETL, "Quality Guidelines for Energy System Studies: Capital Cost Scaling Methodology: Revision 4a Report," U.S. Department of Energy, Pittsburgh, PA, 2022.
[2] Scaling factor equation from QGESS: Scaling Methodology. |  |  |  |  | Where: Exp = Exponent RC, RP = reference cost, parameter SC = scaled cost SP = scaling parameter
[3] NETL, "Eliminating the Derate of Carbon Capture Retrofits – Revision 2," National Energy Technology Laboratory, Pittsburgh, 2022, March 31, 2023.
[4] CO2 Product Flow Rate assumes |  | 95% | capture.
[5] NETL B11A-BR.95: Baseline retrofit study for subcritical PC unit w/ 95% carbon capture (CANSOLV). Capture plant energy supplied from existing steam cycle.
Producer Price Index
Date | PPI
December 2018 | 201
April 2024 | 257.234
Notes
[1] Source: U.S. Bureau of Labor Statistics, Producer Price Index by Commodity: All Commodities [PPIACO], retrieved from FRED, Federal Reserve Bank of St. Louis; https://fred.stlouisfed.org/series/PPIACO, June 7, 2024.
Cost Estimate Calculations
|  |  | NETL Case B11A-BR.95 [1] |  |  | Scaling Factor [6] | Bowen 1 |  |  | Bowen 2 |  |  | Bowen 3 |  |  | Bowen 4 |  |  | Scherer 3
Description (NETL Account No.) |  |  | BEC [3] | EPCC, Cont. % | TPC | Parameter Basis | Factor | BEC | TPC | Factor | BEC | TPC | Factor | BEC | TPC | Factor | BEC | TPC | Factor | BEC | TPC
Feedwater & Misc BOP Systems (3.1-3.9) |  |  | 16689000 | 41% | 23532000 | CO2 prod. flow | 1.2289 | 20508288.7345 | 28917313.8294 | 1.2289 | 20508288.7345 | 28917313.8294 | 1.2404 | 20700258.3627 | 29187996.8716 | 1.2404 | 20700258.3627 | 29187996.8716 | 1.4939 | 24931021.9229 | 35153502.7797
CO2 Capture (5.1, 5.12) |  |  | 304034000 | 58.02% | 480430000 | FG & CO2 [2] | 1.2767 | 388150678.9332 | 613349923.6265 | 1.2767 | 388150678.9332 | 613349923.6265 | 1.3439 | 408599471.5803 | 645662801.3029 | 1.3439 | 408599471.5803 | 645662801.3029 | 1.5101 | 459136776.7996 | 725521098.5541
CO2 Compression (5.4, 5.5) |  |  | 58478000 | 41% | 82454000 | CO2 prod. flow | 1.2289 | 71860729.1398 | 101323652.6642 | 1.2289 | 71860729.1398 | 101323652.6642 | 1.2404 | 72533387.7724 | 102272101.5661 | 1.2404 | 72533387.7724 | 102272101.5661 | 1.4939 | 87357918.3898 | 123174694.8068
Ductwork & Stack (7.3-7.5) |  |  | 3120000 | 35.99% | 4243000 | FG flow | 1.3484 | 4206994.4283 | 5721242.7434 | 1.3484 | 4206994.4283 | 5721242.7434 | 1.4993 | 4677775.7881 | 6361475.2144 | 1.4993 | 4677775.7881 | 6361475.2144 | 1.5346 | 4787903.0183 | 6511241.188
Steam Turbine & Accessories (8.1-8.5) |  |  | 19794000 | 35.13% | 26747000 | CO2 prod. flow | 1.2289 | 24323870.0467 | 32868068.7148 | 1.2289 | 24323870.0467 | 32868068.7148 | 1.2404 | 24551555.7571 | 33175733.1432 | 1.2404 | 24551555.7571 | 33175733.1432 | 1.4939 | 29569455.8057 | 39956261.2123
Cooling Water System (9.1-9.7) |  |  | 23666000 | 35.32% | 32024000 | CO2 prod. flow | 1.2289 | 29081979.8184 | 39352713.6696 | 1.2289 | 29081979.8184 | 39352713.6696 | 1.2404 | 29354204.231 | 39721078.1836 | 1.2404 | 29354204.231 | 39721078.1836 | 1.4939 | 35353679.9585 | 47839358.0238
Accessory Electric Plant (11.1-11.9) |  |  | 29342000 | 35.13% | 39649000 | FG flow | 1.3484 | 39564625.1654 | 53462539.131 | 1.3484 | 39564625.1654 | 53462539.131 | 1.4993 | 43992082.4279 | 59445234.687 | 1.4993 | 43992082.4279 | 59445234.687 | 1.5346 | 45027772.5519 | 60844732.9395
Instrumentation & Control (12.1-12.9) |  |  | 5213000 | 40.17% | 7307000 | CO2 prod. flow | 1.2289 | 6405998.5124 | 8979211.8032 | 1.2289 | 6405998.5124 | 8979211.8032 | 1.2404 | 6465962.421 | 9063262.4996 | 1.2404 | 6465962.421 | 9063262.4996 | 1.4939 | 7787489.8007 | 10915631.685
Improvements to Site (13.1-13.3) |  |  | 1347000 | 41.05% | 1900000 | FG flow | 1.3484 | 1816288.9407 | 2561951.7352 | 1.3484 | 1816288.9407 | 2561951.7352 | 1.4993 | 2019539.7393 | 2848645.512 | 1.4993 | 2019539.7393 | 2848645.512 | 1.5346 | 2067085.0531 | 2915710.1714
Buildings & Structures (14.2-14.9) |  |  | 156000 | 34.62% | 210000 | FG flow | 1.3484 | 210349.7214 | 283163.0865 | 1.3484 | 210349.7214 | 283163.0865 | 1.4993 | 233888.7894 | 314850.2934 | 1.4993 | 233888.7894 | 314850.2934 | 1.5346 | 239395.1509 | 322262.7032
Total Plant Cost (TPC), 2018$ |  |  | 461839000 | 236657000 | 698496000 |  |  |  | 886819781.0038 |  |  | 886819781.0038 |  |  | 928053179.2739 |  |  | 928053179.2739 |  |  | 1053154494.0637
[5 empty] | NETL Case B11A-BR.95 |  |  |  | Bowen 1 |  |  | Bowen 2 |  |  | Bowen 3 |  |  | Bowen 4 |  |  | Scherer 3
|  |  |  | Retrofit Difficulty Factor (RDF) | 1.1 |  |  | RDF | 1.3 |  | RDF | 1.3 |  | RDF | 1.3 |  | RDF | 1.3 |  | RDF | 1.3
|  |  |  | Total Plant Cost (TPC) w/ RDF, M2018$ | 768.3456 |  |  | TPC w/ RDF, M2018$ | 1152.8657 |  | TPC, 2018$ | 1152.8657 |  | TPC, 2018$ | 1206.4691 |  | TPC, 2018$ | 1206.4691 |  | TPC, 2018$ | 1369.1008
|  |  |  | Total Overnight Cost (TOC), M2018$ [4], [5] | 909.7212 |  |  | TOC, M2018$ [4], [5] | 1364.993 |  | TOC, 2018$ | 1364.993 |  | TOC, 2018$ | 1428.4595 |  | TOC, 2018$ | 1428.4595 |  | TOC, 2018$ | 1621.0154
[8 empty] | TOC, M2024$ | 1746.8787 |  | TOC, 2024$ | 1746.8787 |  | TOC, 2024$ | 1828.1012 |  | TOC, 2024$ | 1828.1012 |  | TOC, 2024$ | 2074.5287
[8 empty] | TOC Low (-25%), M2024$ | 1310.159 |  | TOC Low | 1310.159 |  | TOC Low | 1371.0759 |  | TOC Low | 1371.0759 |  | TOC Low | 1555.8965
[8 empty] | TOC High (+50%), M2024$ | 2620.318 |  | TOC High | 2620.318 |  | TOC High | 2742.1518 |  | TOC High | 2742.1518 |  | TOC High | 3111.7931
Notes
[1] NETL, "Eliminating the Derate of Carbon Capture Retrofits – Revision 2," National Energy Technology Laboratory, Pittsburgh, 2022, March 31, 2023. Exhibit 4-2. Case B11A-BR.95 retrofit plant cost details (page 111-113)
[2] Scaling factor weighted 40% on Flue gas volumetric flow and 60% CO2 product flow. Ref QGESS: Scaling Methodology, Exhibit 3-6. Scaling parameters and exponents for categories 1-2: “Flue Gas Cleanup” .
[3] Bare Erect Cost (BEC)
[4] Total Overnight Cost (TOC) factor |  | 18.4% | [1], Exhibit 4-4. Case B11A-BR.95 owner's cost.
[5] TOC excludes financing costs.
[6] Parameters recommended to scale BOP and auxiliary costs in QGESS: Scaling Methodology report were not available. In this analysis CO2 product flow and flue gas volumetric flow exiting FGD scrubber were used to scale cost for this analysis.

## CCS FOM-MC
This table is fully redacted

## Scherer-Ownership-Percentage
TOTAL GPC OWNERSHIP %
| SCH12 GPC: Scherer Stm CU 1&2 |  | 8.4%
| SCH34 GPC: Scherer Stm CU 3&4 |  | 37.5%
| SCHCM GPC: Scherer Stm Common |  | 22.95%
| SCHU1 GPC: Scherer Stm Unit 1 |  | 8.4%
| SCHU2 GPC: Scherer Stm Unit 2 |  | 8.4%
| SCHU3 GPC: Scherer Stm Unit 3 |  | 75%
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Scherer 3 Capacity | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75 | 678.75
Retail | 537.423 | 537.423 | 537.423 | 537.423 | 537.423 | 537.423 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873 | 457.873
Wholesale | 141.327 | 141.327 | 141.327 | 141.327 | 141.327 | 141.327 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877 | 220.877
Scherer 3 Retail % | 79.18% | 79.18% | 79.18% | 79.18% | 79.18% | 79.18% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46% | 67.46%
GPC Retail % | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
SCH12 GPC: Scherer Stm CU 1&2 | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4%
SCH34 GPC: Scherer Stm CU 3&4 | 29.69% | 29.69% | 29.69% | 29.69% | 29.69% | 29.69% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3% | 25.3%
SCHCM GPC: Scherer Stm Common | 19.05% | 19.05% | 19.05% | 19.05% | 19.05% | 19.05% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85% | 16.85%
SCHU1 GPC: Scherer Stm Unit 1 | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4%
SCHU2 GPC: Scherer Stm Unit 2 | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4% | 8.4%
SCHU3 GPC: Scherer Stm Unit 3 | 59.38% | 59.38% | 59.38% | 59.38% | 59.38% | 59.38% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59% | 50.59%
3-Unit Common | 25.39% | 25.39% | 25.39% | 25.39% | 25.39% | 25.39% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46% | 22.46%
0

## Carbon
| Capacity MW | C0 | C1 | C2 | HR AVG @ MAX Btu/kWh | CO2 Emissions Rate lb/mmBtu | Carbon Capture Efficiency | Metric Ton CO2/year
Bowen 1 | 690 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED
Bowen 2 | 694 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED
Bowen 3 | 867 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED
Bowen 4 | 869 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED
Scherer 1 | 860 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED
Scherer 2 | 860 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED
Scherer 3 | 860 | REDACTED | REDACTED | REDACTED | REDACTED | 213 | 95% | REDACTED