STF-JKA-1-23

Question:

Regarding generic Small Modular Reactor Technology resource options.

a. Has Georgia Power assumed generic resource options related to nuclear and/or small modular reactor (SMR) technologies? What studies have been conducted to support the development of this resource?

b. Provide all supporting documentation and industry information regarding costs, risks, and availability of nuclear/SMR resources in Georgia.

c. Did Georgia Power consider any federal incentives for investment in screening this technology in or out of consideration? Explain why or why not.

Response:

a.	Yes, the Company included SMR as a generic nuclear candidate unit in the 2023 IRP Update.  In preparation for this 2025 IRP, the projected costs for SMR increased significantly from the 2023 IRP Update resulting in the AP1000 nuclear technology projected to be the most cost-effective nuclear option.  Therefore, in this 2025 IRP, the generic nuclear candidate unit is based on cost and performance information for the AP1000 nuclear technology.  Cost and performance metrics for the AP1000 are informed from previous nuclear resource development in which the Company has been involved. SMR costs are informed by recent updated pricing available from OEMs, with operations and maintenance characteristics informed by experience with nuclear operation.

b. Please see Attachments B and C in 2025 IRP Technology Screening TRADE SECRET located in 2025 IRP Technical Appendix Volume 2.

c.	Yes, Investment Tax Credits at 30% were applied, in line with guidance from the clean energy credit made available through the IRA. See the Technical Appendix Volume 2, Resource Mix Study for additional discussion of generic resource technologies.