STF-JKA-1-3

Question:

Provide the Georgia Power Territorial Load vs. Existing Capability Tables for the following cases, electronically with all formulae intact.

- The GPC System, as it exists today based on the 2025 IRP base case load forecast, with all approved resource additions including those resources approved in 2023 IRP Update order, but without GPC planned but not yet approved resources, and without any generic optimized resource additions. All resources should be separately identified and nameplate capacity provided.

- The GPC System, as it exists today based on the 2025 IRP base case load forecast, with all approved resource additions including those resources approved in 2023 IRP Update order, with GPC planned but not yet approved resources, but without any generic optimized resource additions. All resources should be separately identified and nameplate capacity provided.

- The GPC System, as it exists today based on the 2025 IRP base case load forecast, with all approved resource additions including those resources approved in 2023 IRP Update order, with GPC planned but not yet approved resources, and with all optimized generic resource additions. All resources should be separately identified and nameplate capacity provided.

- For the results in part c above, please provide a workpaper that shows the actual nameplate value of each row in the Load vs Capability table, which will allow the calculation of the capacity contribution value that the Company assigned to every individual resource, each year.

Response:

- Please see STF-JKA-1-3 Attachment A. This differs from “Georgia Power Territorial Base Case Load vs. Existing Capability Table - 2025 IRP.xlsx,” which was filed as part of the Resource Mix Study in Technical Appendix Volume 2, in that STF-JKA-1-3 Attachment A does not include the extended operations of Plant Scherer Unit 3 and Plant Gaston Units 1-4 and A beyond December 31, 2028. Nameplate capacities are provided in response to subpart (d).

- Please see “Georgia Power Territorial Base Case Load vs. Existing Capability Table with 2025 IRP Requests 2-14-25.xlsx,” which was provided as a workpaper to Commission Staff on February 14, 2025, in the Main Document workpapers folder. This file is an updated version of the same workpaper that was provided to Commission Staff on January 31, 2025. Nameplate capacities are provided in response to subpart (d).

- Please see STF-JKA-1-3 Attachment B. Generic resource additions are only optimized for the winter season, since that is the season driving capacity needs for the Southern Company System. As such, this file contains the winter information for loads and resources. Nameplate capacities are provided in response to subpart (d).

- Please see STF-JKA-1-3 Attachment C. This file contains the nameplate capacity for all resources in subparts (a) – (c) above. Note that nameplate capacity is not appropriate for resource adequacy planning and results in overstated reserve margins because it does not account for the effective load carrying capability or planning capacity of each resource.