STF-JKA-1-5

Question:

Modeling studies used in the IRP.

- Please supply a list of all supply-side related modeling studies performed in the IRP (including the retirement study, environmental analyses, generation mix study, reserve margin study, etc.), Identify the associated models used in each of those studies (for example, Aurora, Genval, SERVM, REVREQ, Company spreadsheet models, etc.), and provide a brief description of each study that was performed.

- Please provide all databases and workpapers for all supply-side-related models that were used in this IRP. Please provide an index or “table of contents” that describes each study performed.

Response:

- Supply-side Modeling Studies Performed:

  - Reserve Margin Study: The Reserve Margin Study report describes the methodology, metrics, assumptions, and results used to determine the Company’s Target Reserve Margin recommendations. The Reserve Margin Study was performed using SERVM.

  - Unit Retirement Study: The unit retirement studies were performed using a Company spreadsheet model used for asset evaluation and Aurora. The evaluations weigh the costs and benefits of continuing to operate coal and certain gas-steam units beyond 2028, including assessing the potential impact of various environmental compliance pathways.  Evaluations were performed for Plant Bowen Units 1-4, Plant Scherer Units 1-3, and Plant Gaston Units 1-4 & A.

  - Unit Upgrade Analyses: The unit upgrade analyses were performed using a Company spreadsheet model used for asset evaluation and Aurora. The unit upgrade analyses compare the costs and benefits of continued operation of relevant units with upgrades and without upgrades. Evaluations were performed for Plant McIntosh Units 1A-8A, Plant McIntosh Units 10-11, Plant Vogtle Units 1-2, and Plant Hatch Units 1-2.

  - Wholesale-to-Retail offer: The Wholesale-to-Retail offer was performed using a Company spreadsheet model. The market differential adjustment (“MDA”) assessment was performed to determine the difference between the levelized market value and the levelized revenue requirement of the net asset over its assumed remaining life.

  - Hydro Modernization Study: The hydro modernization study was performed using a Company spreadsheet model used for asset evaluation and Aurora. The hydro modernization study compares the costs and benefits of modernization to the costs and benefits of alternatives to modernization. Evaluations were performed for Plant Tallulah, Plant Yonah, Plant Bartletts Ferry Units 5-6, Plant Goat Rock, Plant North Highlands, Plant Lloyd Shoals, Plant Wallace, Plant Flint River, and Plant Morgan Falls. An evaluation for Plant Burton was also performed per Paragraph 34 in the 2022 Final Order Adopting Stipulation.

  - Renewable Integration Study: The Renewable Integration Study evaluated the reliability and cost impacts of large solar penetration levels. The study was performed by Astrape Consulting utilizing SERVM.

  - Resource Mix Study: A Resource Mix Study with nine scenarios was performed using Aurora. The Resource Mix Study aims to develop an optimal, least-cost resource mix or generic expansion plan. This plan is designed to minimize revenue requirements while adhering to reliability criteria and environmental laws and regulations. It also takes into account risk and flexibility, providing a valuable roadmap for long-term resource decision-making.

  - DSM Step 9 Analysis:  The Commission-approved nine-step DSM Planning Process, or “DSM Program Planning Approach,” was used to guide the development of the Company’s 2025 IRP and DSM Certification plans.

  - Financial Review:  A Financial Review of thirteen Sensitivities was performed using Aurora. Details and results of the financial review can be found in the Technical Appendix Volume 2, Section 3.

- Supply-Side Modeling Workpapers:

The Company provided databases and workpapers to Commission Staff on January 31, 2025, complete with a workpapers index.

  - Reserve Margin Study: Workpapers were provided in the Technical Appendix Volume 1 – Reserve Margin Study workpapers folder.

  - Unit Retirement Studies: Workpapers were provided in the Technical Appendix Volume 1 – Unit Retirement Study workpapers folder.

  - Unit Upgrade Analyses: Workpapers were provided in the Technical Appendix Volume 1 – Unit Upgrade Analyses workpapers folder.

  - Wholesale-to-Retail offer: Workpapers were provided in the Technical Appendix Volume 1 – Wholesale-to-Retail Offer workpapers folder.

  - Hydro Modernization Study: Workpapers were provided in the Technical Appendix Volume 1 – Hydro Modernization workpapers folder.

  - Renewable Integration Study: Workpapers were provided in the Technical Appendix Volume 2 – Renewable Integration Study workpapers folder.

  - Resource Mix Study: Workpapers, databases, and Aurora modeling file index were provided in the Technical Appendix Volume 2 – Reserve Margin Study workpapers folder.

  - DSM Step 9 Analysis: Workpapers, databases, and Aurora modeling file index were provided in the Technical Appendix Volume 1 – DSM Program Documentation workpapers folder.

  - Financial Review: Workpapers, databases, and Aurora modeling file index were provided in the Technical Appendix Volume 2 – Resource Mix Study workpapers folder.