STF-JKA-1-6

Question:

Regarding Aurora:

- Provide all Archive.zip, input.xdb, output.xdb, .csf, cds, and Excel files, as appropriate, and provide the logs and any standard reports available. Please provide an index or “table of contents” that describes each study run. Also, describe which/if any input assumptions and tables were changed between databases or run cases.

- For any Aurora files produced with a naming convention identifying run characteristics, provide a description of the nomenclature used for naming of files and runs.

- Please provide the company’s most comprehensive and updated Aurora quickview file (.atz) and any other standard reporting tools utilized to analyze the Aurora run output.

- If the Company’s Aurora databases return any non-critical input errors upon initialization, please provide a description of the investigation conducted to resolve the errors and how a determination was made to continue to utilize the inputs as is.

- For all constraints included in the Aurora modeling (must run, ELCC, any tunnel constraints utilized for reserve margin, generic unit minimum/maximum annual additions, cumulative additions, etc.), provide a narrative explanation as to the purpose and development of such constraint.

- Confirm if the Company modeled any capacity factor limits in Aurora in this IRP? If so why, if not why, as the Company did so in the 2023 IRP Update.

Response:

- Aurora databases, workpapers, run setups, and a workpapers index were provided to Commission Staff on January 31, 2025. Additionally, Aurora databases and workpapers accompanying an Errata associated with the 111-MG0 Supply-Side DSM case were provided to Commission Staff on February 14, 2025. See the Company’s response to STF-JKA-1-5 subpart (b) for descriptions and locations of Aurora workpapers for supply-side and demand-side studies.

- See response to subpart (a).

- See response to subpart (a).

- The Company has no record of initialization errors. There may be instances where Aurora issues a warning upon initialization. Generally, each warning is unique and is investigated based on the message and how it relates to the given study.

- Please see Table 4 of Section 3.6.1 “Expansion Plan Candidate Resources” in the 2025 IRP Technical Appendix Vol 2 Resource Mix Study for a detailed description of new resource constraints included in Aurora modeling. Please also see Table 5 of Section 3.6.2 “Generic Unit Costs and Performance” in the 2025 IRP Technical Appendix Vol 2 Resource Mix Study for a list of Effective Load Carrying Capability (“ELCC”) values applied for each technology. Additionally, please see the response to STF-JKA-1-10 for detailed information on the development of these ELCC values used in Aurora. All constraints modeled in Aurora are an attempt to model and simulate the operations and economic planning of Southern Company’s electric generation system. These constraints are often provided and modeled from input from Bulk Power and Commercial Operations. Must run constraints are largely directed by modeling Bulk Power, Transmission Planning, and Commercial Operations’ guidance for the system.

- Yes, the Company included capacity factor limitations in its modeling. Please see Section 3.6.1 “Expansion Plan Candidate Resources” in the 2025 IRP Technical Appendix Vol. 2 Resource Mix Study for information regarding capacity factor limits under the 111 view. Also listed in Section 3.6.1 is the Company’s use of a capacity factor limit on combustion turbines (“CTs”), which applies to both new and existing CTs as a group. This capacity factor limit is broadly applied to CTs to reflect existing requirements under the Clean Air Act’s New Source Performance Standards (“NSPS”) Subpart TTTT as well as existing and potential air permit limitations. Under the NSPS regulation, new simple-cycle CTs must meet a capacity factor limitation that is equivalent to the unit’s design efficiency. In addition, simple-cycle CTs could be required to limit capacity factor due to New Source Review air permit limitations under the Clean Air Act. While air permit constraints are determined on a case-by-case basis, many existing air permits limit simple-cycle CTs to a 20% annual capacity factor or less. Simple-cycle CTs are generally used as peaking generation and have historically operated at far less than a 20% capacity factor on an annual basis.