STF-JKA-2-11

Question:

Refer to Technical Appendix Volume 1, “2025 GPC ECS.docx” page 3-4, where the Company describes compliance with supplemental ELG rule and requirement for “zero liquid discharge” by December 31, 2029 at Plant Bowen, stating, “the Company remains committed to actively investigating engineering and technology options to optimize and refine the compliance strategy in the best interests of customers. If available, the Company will provide supplemental information during the 2025 IRP process regarding alternative ELG compliance options for Plant Bowen.”

    - Describe the current status of the Company’s investigation for compliance at Bowen.

    - Describe the basis for the company’s current cost estimate utilized in the Unit Retirement Study, and provide the supporting engineering study, scope of work, contracts, and/or quotes related to the investment and technologies required for compliance,

    - Provide a projected project timeline describing approvals, engineering, procurement, installation, testing, and final compliance.

Response:

- Internal study and technical analysis of ELG compliance at Plant Bowen are on-going. The Company is engaging external engineering and design support to obtain refined capital costs, an effort that is expected to last between now and third quarter of 2025. This work is multi-faceted, with efforts to evaluate technological viability of different options, cross media impacts, and treatment assumptions that may support cost revisions.

- Please see the Company’s response to STF-PIA-4-2.

- The estimate provided to the Company was for budgetary purposes only, and no engineering dependency charts or schedules were developed.