STF-JKA-2-14

Question:

Refer to Technical Appendix Volume 1, “2025 IRP Unit Retirement Study TRADE SECRET.docx” and the description of the assumption that all units in the study were assumed to be replaced with generic NGCC.

        - Explain why the Company has now assumed NGCC replacement, whereas in previous IRPs the Company used portfolio methodologies?

        - Is the NGCC generic replacement assumed for all units under all fuel cases? How was this determined? Why wasn’t a CT or BESS contemplated?

        - Did the Company consider using results from the All-Source RFP to determine the replacement resource in the Unit Retirement Study?  If it did not consider that, please explain why not, and if it did, please explain how the All-Source RFP was considered.

        - Why is the Company studying the units at the plant level (Bowen Units 1-4, rather than the groups used in the 2022 IRP and 2023 IRP Update (Bowen 1-2 and Bowen 3-4?)

Response:

- The Company has historically used a defined resource type as replacement technology. The 2022 Integrated Resource Plan (“IRP”) Unit Retirement Study used a replacement portfolio due to the availability of results from the 2022-2028 Capacity Request for Proposals (“RFP”), which were specifically procured for coal retirement replacement. No such RFP results are available for the current Unit Retirement Studies.

- Yes. The natural gas combined cycle (“NGCC”) generic replacement was assumed for all units under all fuel cases. While combustion turbine (“CT”) and battery energy storage system (“BESS”) were contemplated as replacement options, the Company determined that the NGCC was the lowest cost replacement in most scenarios and best reflected the near-term replacement option if a retirement decision were made. Please see the Company’s response to STF-PIA-4-3 for  additional details.

- No. The Company did not consider using results from the All-Source RFP to determine the replacement resources in the Unit Retirement Study. The Company is not expected to make a certification filing with the Commission based on the All-Source RFP until July 2025; therefore, the timing was not compatible with completion of the Unit Retirement Study, which was completed several months in advance of filing the 2025 IRP. Additionally, the capacity sought in the All-Source RFP is intended to meet capacity needs associated with load growth. Additional resources would be needed to replace existing units if a retirement decision were made.

- The Company conducted the Unit Retirement Studies at the plant level because the capital expenses associated with ELG compliance were applicable to the full plant and not individual units. Furthermore, the Company’s current capacity needs support consideration of the full plant as any partial retirement would necessitate immediate replacement. As such, there is no reasonable need to differentiate between each unit.