STF-JKA-2-15

Question:

With respect to the Unit Retirement Study (“URS”), the Company states, “Ultimately, the economic analysis assumes that steam units will not defer or avoid new transmission system investments but instead accounts for the uncertainty of replacement generation locations, which are likely to require transmission investments to accommodate the replacement of retired units.”

        - Please provide more information about what this means, and explain if this is intended to be a change from previous URS structures that included avoided transmission benefits in the analysis?

        - Confirm that the Company is still assuming a cost of new transmission associated with the generic replacement unit.

        - Refer to Table 1 of the URS.  Please describe the assumptions made for ELG costs. Please provide all supporting documentation and engineering scope available.

        - To the extent that estimates for ELG costs have changed since the 2022 IRP and/or 2023 IRP Update, please provide a side by side comparison of the costs and the reason for the change.

        - Refer to Table 2 of the URS. How did the Company derive assumptions for CCS. Please provide all supporting workpapers and industry documentation for CCS costs including capital, transportation, and storage.

        - Refer to Table 3 of the URS. Please describe the CCR Landfill assumptions and source for cost estimates.

        - Refer to Table 4 of the URS. Please describe the cost assumptions made for co-firing the coal plants with natural gas and the development of the cost assumptions, specifically capital and FT assumptions.

        - Refer to Table 4 of the URS. Please describe the assumptions made for gas conversion and the development of the cost assumptions, specifically capital and FT assumptions. Provide supporting cost estimate documentation.

Response:

- The Company’s assumption that the steam units will not defer or avoid new transmission system investments is a change from previous Unit Retirement Studies. Please see Technical Appendix Volume 3, Section D1, GA ITS Ten-Year Expansion Plan, V1. Appendix, Part D Fleet Transition Table. 33-42: Project Numbers 18671, 18104, and the Eufaula-George Dam (COE) – WEBB 115 (APC Project) have been completed. Project number 19628 is no longer needed as a result of the retirements, but this project is no longer needed in the 2024 Ten-Year Plan, which assumes these units are extended. Projects numbers 18153, 18800, 18774, 19187, 19334, 19187, 19598, 20002, 19999, 19636, 19598, 12016, 19950, 18573, and 19635 are needed in some or all retirement scenarios, but are also needed for the 2024 Ten-Year Plan, which assumes these units are extended. As a result, the new transmission projects identified in the 2024 Ten-Year plan are needed regardless of unit retirement decisions; therefore, steam units will not defer or avoid new transmission system investments.

- The Company assumes a cost of new transmission with replacement units for this Unit Retirement Study.

- The cost assumptions displayed in Table 1 of the Unit Retirement Study have been provided and can be found in STF-JKA-1-21 Attachment D and STF-JKA-1-21 Attachment F. Note that the estimate for Plant Scherer combustion residual leachate (“CRL”) is in 100% dollars, but Table 1 is in GPC Retail Ownership dollars. Also see the Company’s response to STF-PIA-4-15.

- The costs have not changed. The original estimate from May 23, 2023, was used in the Unit Retirement Study and details can be found in STF-JKA-1-21 Attachment D.

- The carbon capture and sequestration (“CCS”) assumptions for the carbon capture plant can be found in STF-JKA-1-21 Attachment C on the “CapturePlant” tab. The cost of the carbon pipe was estimated using distances described in STF-JKA-1-21 Attachment C on the “CarbonPipe” tab. The assumption for the cost per mile of carbon pipe is consistent with the generic combined cycle (“CC”) with CCS described in the Technology Application Standards.

- The cost assumption for the CCR Landfill in Table 3 of the Unit Retirement Study can be found in STF-JKA-1-21 Attachment F.

- Please see the Company’s responses to STF-PIA-4-9 and STF-JKA-2-17. The assumption for the Conversion Capital in Table 4 was based on the historical conversion cost of a unit in the Company’s fleet. The cost was scaled and adjusted for inflation for each unit.

- Please refer to the response to subpart (g).