STF-JKA-2-17

Question:

Refer to Technical Appendix Volume 1, “2025 IRP Unit Retirement Study TRADE SECRET.docx” and the costs for co-firing and gas conversion.

        - Compare and contrast the engineering and technical difference between the plant investments required for co-firing vs. 100% gas conversion.

        - What engineering studies have been completed for co-firing and/or gas conversion at the Bowen and Scherer sites?  Provide all studies conducted to date.

        - What monthly level of FT is assumed in the estimates provided in Table 4? Describe the expected operations seasonally for units if co-firing or converted.

        - Does the FT cost estimate include infrastructure and or new lateral extensions and/or reservation costs? Please explain.

Response:

- The study assumes the boilers can be modified to meet a performance specification that would allow for the boilers to operate on 100% coal, 100% gas, or a blend with the same gross heat rate and gross output.

- Boiler studies have not yet been conducted for Plant Bowen or Plant Scherer.

- Please see the Company’s response to STF-PIA-4-9 for firm transportation (“FT”) assumptions. Please see the AURORA output files provided with the workpapers in Technical Appendix Volume 1, Section 4, Unit Retirement Study for expected seasonal operations.

- Please see the Company’s response to STF-PIA-4-9.