STF-JKA-2-24

Question:

Refer to Technical Appendix Volume 1, “2025 IRP Nuclear Upgrades TRADE SECRET.docx” which states, which states, “Capital costs are currently budgetary estimates, as the project design is still in progress and costs may change as engineering details are finalized.”

        - What is the timeline for engineering and scoping the cost of the nuclear upgrades?

        - Will SNC be performing the upgrades or a third party? Please explain.

        - What contracts and or cost estimates and performance guarantees will be agreed to?

        - For the nuclear economic analysis, the company, “For economic purposes, the Company applied a 10% risk adjustment to the value of these credits.  Explain how the 10% was derived and determined to be reasonable?

        - Is the Company aware of any other nuclear units in the U.S. that have already implemented the same upgrades?  Please provide all relevant peer documentation on the proposed upgrades.

Response:

- The timeline for Engineering is approximately two years to complete the analysis and confirm modification scope to support the power uprate. We currently project to complete scope and cost confirmation by 3Q 2026.

- Southern Nuclear Company (“SNC”) will be performing the oversight of our vendors, suppliers and engineering firms that will support the power uprate process phases. The preliminary engineering is conducted by the applicable Original Equipment Manufacturer (“OEM”), which is Westinghouse for Plant Vogtle Units 1-2 and General Electric Vernova for Plant Hatch Units 1-2. Design engineering will be conducted by third party Architectural Engineering firms. Implementation will be utilized by multiple maintenance management contractors for the large scopes of work.

- SNC has existing commercial agreements with many of the vendors that will be utilized for extended power uprate (“EPU”) work. The Request for Proposal (“RFP”) process will be used for specified scopes and performance guarantees will be considered. Upon award of work to a vendor, a purchase order will be issued for the specified scope. The current budgetary estimates were developed using component estimates from vendors (where available), estimated engineering and Company labor, and estimated implementation support. As purchase orders are issued, cost estimates will be updated, if necessary, to reflect the purchase order amount.

- Please see the Company’s response to STF-JKA-2-22(a) and Technical Appendix Volume 2, Resource Mix Study.

- The Nuclear Regulatory Commission website link shows the numerous uprates that have been performed in the United States, the type of upgrade, and when it was performed:

The 10% risk adjustment is applied to account for potential uncertainties and market conditions that could impact the value of the PTCs. This adjustment also considers the possibility of needing to transfer the credits and other unexpected factors that may arise during the project lifecycle.