STF-JKA-2-26

Question:

Refer to Technical Appendix Volume 1, “2025 IRP Nuclear Upgrades TRADE SECRET.docx” which states, “In the event stability analysis identifies any additional costs, the analysis will be updated as appropriate.”

- What type of stability analysis is routinely performed? Please describe the analysis and how often it would be performed?

- What is the likelihood that stability analysis could require additional significant costs that are not accounted for in the economic analysis?

- Would such an analysis be required for all resource modifications (coal unit retirements and/or new resource acquisition), please explain.

Response:

- Please refer to Section 3 of Technical Appendix Volume 3 for a description of stability analyses performed. Stability analyses are typically required for all new generation additions, retirements, and modifications (e.g., unit uprates).

- There is a low likelihood that stability analysis could require additional improvements. Those studies are in progress and if any additional cost is identified, the economic analysis will be updated as appropriate.

- Stability analysis is typically required for any new generation additions or retirements and for resource modifications (e.g. unit uprates).