STF-JKA-2-28

Question:

Refer to Technical Appendix Volume 1 “2025 IRP Hydro Modernization TRADE SECRET.docx” For each hydro unit in the fleet, please provide the following in a table format:

- Date of last turbine replacement

- Date of last system controls installation/upgrade

- Eligibility for ITC federal and/or GA tax credits

- Whether the unit is in an energy community (as identified by DOE)

- Company’s assumption for qualification for Title 17 Section 1706 loan programs

- FERC license group (whether the unit is licensed individually or by river system)

- Indication of whether the unit is on forced outage or out of service, reason for such an outage

- Status and date when the unit will be or last was relicensed by FERC

Response:

- See STF-JKA-2-28 Attachment.

- See STF-JKA-2-28 Attachment. Currently, 12 units in the Georgia Power hydro fleet have had control upgrades: Plants Terrora and Tugalo as part of modernization and Plant Tallulah as a separate project completed between 2007-2009. The rest of the hydro fleet has had instrumentation added to the existing original equipment to allow remote monitoring and limited operation but not fully upgraded controls to allow for the full benefits of enhanced fleet dispatch and operational efficiency. The existing (non-modernized) controls are well past their expected service life and not supported by any existing manufacturer.

- See STF-JKA-2-28 Attachment. The hydro modernization projects qualify for federal investment tax credits (“ITC”) under Section 48 or production tax credits (“PTC”) under Section 45 or the Inflation Reduction Act (“IRA”). After 2025, it will be under Section 48E and Section 45Y.

While prior law allowed for PTC, the IRA increased the rate and allowed for taxpayers to elect ITC, which may be more valuable. Georgia Power is currently eligible for either ITC or PTC on its hydro modernization projects that create efficiency improvements or increases (after approval by FERC). To date, the Company has obtained tax credits on modernized Plant Tugalo Units 1, 2, and 3.

Please see the “Tax Credits and Government Programs” in Section 4.2 of the 2025 IRP Technical Appendix Volume 1 Hydro Modernization section for detailed federal and state tax credit assumptions used in the cost-benefit analysis for the requested hydro modernization projects.  The analysis assumes a risk-adjusted federal ITC of 30% with an extra 10% bonus applied for Plant Lloyd Shoals in an energy community.

The hydro modernization projects are also eligible to receive State tax credits in the range of 3-8% based on county, and these percentages are updated annually.

- See STF-JKA-2-28 Attachment. Plant Lloyd Shoals is currently the only hydro project in an energy community, which receives a 10% bonus on the Federal ITC. Georgia Power continues to review and update the energy community analysis for the hydro investments, as the energy community maps change every year.

- See STF-JKA-2-28 Attachment. Also created by the IRA, the Energy Infrastructure Reinvestment (“EIR”) Program (Section 1706) guarantees loans to projects that retool, repower, repurpose, or replace energy infrastructure that has ceased operations or enable operating energy infrastructure to run more cleanly.

The Georgia Power hydroelectric units are achieving efficiency gains through the modernization projects, and therefore, are included in the projects for which Georgia Power is pursuing DOE Title 17 loan opportunities that support EIR.

- See STF-JKA-2-28 Attachment.

- See STF-JKA-2-28 Attachment. Plant Goat Rock Units 4-5 and Plant Morgan Falls Units 3-4 are on forced outage and cannot return to service until modernization work is completed. The other identified units are temporarily offline at this time for either modernization or maintenance.

- See STF-JKA-2-28 Attachment.