STF-JKA-2-29

Question:

Regarding Hydro Modernization projects:

- Please explain the required approvals from the PSC and/or FERC in order to implement hydro modernization projects.

- Explain the importance of modernizing hydro plants by river groups.

- If it was important to modernize hydro plants by river groups, why didn’t the Company seek approval and complete work on all projects on the North GA Hydro Group first, before seeking approval for the Chattahoochee Hydro Group as it did in the 2019 IRP (Bartletts Ferry and Oliver)?

- If it was important to modernize hydro plants by river groups, why didn’t the Company complete work on the North GA Hydro Group and the Chattahoochee Hydro Group before it sought approval to start work on Sinclair in the Central Georgia Hydro Group as it did in the 2022 IRP?

- Please provide the latest scoping documents the Company has for the hydro modernization projects the Company is seeking approval for in the 2025 IRP.

- Refer to Table 1 in the document, “2025 IRP Hydro Modernization TRADE SECRET.docx.” Please provide a similar or any table showing the schedule for requested projects from the 2019 IRP, and the 2022 IRP.

Response:

- As part of the integrated resource plan (“IRP”) process, Georgia Power requests Public Service Commission (“Commission”) approval of the capital and operations and maintenance (“O&M”) costs to be incurred for the hydro modernization projects to be completed. Additionally, for any projects resulting in a capacity increase of more than 15%, Georgia Power is required by Commission Rules to submit a certification amendment application to be reviewed and approved by the Commission.

A Federal Energy Regulatory Commission (“FERC”) license amendment is required for any changes to the features or operations of the hydro projects. All of the modernization work proposed by Georgia Power will require a license amendment. FERC reviews the amendment applications, concentrating on whether the proposed modifications impact dam safety, environmental, operational, and other effects. Items that are reviewed as part of the license amendments process at FERC can include, but are not limited to, the following:

- New vendor-designed turbine and generator design power outputs and discharge flows to evaluate the impact of water flows to the receiving stream (quantity and quality) and annual charges.

- Analysis of whether licensed recreation, lake levels, or flow releases will be affected during construction.

- Required laydown areas and, if land disturbance is required, any cultural, historical, wetlands, endangered or listed species or habitats impacted.

- Historic photography documentation of structures and Memorandum of Agreements to be executed between FERC, the State Historic Preservation Offices, and Indian Tribes if they choose to participate.

To complete the analysis of some of these items to the detail that FERC requires for a license amendment, agency consultation and FERC review and public comment, it requires detailed scopes, engineering design to be completed by the vendor for the turbine and generators and supporting systems designs be substantially complete so that we know specifics about the new turbines, generators, water flow quantities and temperature, plans for staging, and impacts to operations during construction. Vendors will not complete this level of turbine and generator design until commitments are made to purchases, and the supporting systems design cannot begin until the unit turbine and generator design is complete.

- As discussed in the 2025 IRP Technical Appendix Volume 1, Hydro Modernization, Section 2, completing the modernization of the full hydro group on a river chain not only provides efficiencies during the project process but also enables improved operations following completion. The Company will be able to realize the full benefits of enhanced fleet dispatch and operational efficiency of each river chain. Specifically, the turbine and generator upgrades are expected to increase the efficiency of each unit. Also, upgraded control systems will allow for optimized water flow between interconnected facilities along each river chain. Modernized facilities will be updated with digital instrumentation and control systems that will allow for optimized dispatch of each facility.

Approval of the remaining facilities by river chain will create efficiencies for any FERC license amendments that may be needed for the completion of these projects, which would be beneficial to the overall hydro modernization schedule.

Additionally, it was important for Georgia Power to evaluate the hydro modernization projects and dam removal alternatives by river chain in the required cost-benefit analysis due to the interconnected impacts of facilities in the hydro group. This operational relationship means that changes at one dam can significantly impact the others, such as adverse effects on turbine performance and operational range. The cost-benefit analysis provides alternatives with the addition of a weir upstream of the dam removed as part of the scenario, in order to mitigate the impacts to the rest of the river chain. See the 2025 IRP Technical Appendix Volume 1, Hydro Modernization, Section 4, for more information on the cost-benefit analysis approach by river chain.

- In the 2019 IRP, Georgia Power requested approval of hydro modernization projects for the entire Georgia Power-operated hydro fleet due to the flexibility and efficiency benefits to be gained by receiving approval for all projects. These benefits also included the operational and logistical optimization to be gained by completing modernization on a full river chain. However, as part of the stipulation process in the 2019 IRP, five lower-cost sites with urgency for refurbishment/replacement work to ensure continued operation were agreed to in order to start the hydro modernization program. As described in the 2025 IRP and subpart (b) above, the Company maintains that there are significant benefits to modernizing all hydro facilities in a river chain, as well as receiving approvals for the full remaining hydro fleet.

- Due to the limited approvals stipulated in the 2019 IRP, Georgia Power chose to prioritize the requests in the 2022 IRP to the next few sites with the greatest urgency for modernization, which included Plant Sinclair on the Central Georgia river chain, in addition to a facility on both the North Georgia (Plant Burton) and Chattahoochee (Plant North Highlands) river chains. Plant North Highlands was not approved as part of the 2022 IRP Final Order.

- See STF-JKA-2-29 Attachments A-I TRADE SECRET for the latest scoping documents for the hydro modernization projects. Please note that additional scoping will be completed once the hydro modernization projects are approved as part of the engineering, design, and procurement processes.

- See STF-JKA-2-29 Attachment J.