STF-JKA-2-3

Question:

Refer to the Technical Appendix volume 1 workpaper, “RP Wholesale-to-Retail Offer MDAs TRADE SECRET.xlsx.”

        - For each of tabs: MDA, Rev Req, and TMV, provide all workpapers that led to the values that were pasted in each of the tabs, electronically with all formulae intact.   If Aurora was used, provide all Aurora modeling runs both input database and output results so that the Aurora runs can be reproduced.

        - Provide a narrative explaining the derivation of the methodology used to calculate the values in each tab in the workpaper.

Response:

        - The calculations for the “MDA” tab are included in the workpaper referenced in the question in cells G7:I10 and G15:I18. They reference the data for the “Rev Req” (Revenue Requirements) and “TMV” (Total Market Value) tabs.

Please see the Company’s response to STF-JKA-2-2 subpart (b) for the link to how the revenue requirements were calculated in the Standard Analysis Models (“SAM”).

The “Capacity” values on the “TMV” tab are consistent with the economic carrying cost (“ECC”) of a combustion turbine (“CT”), which is consistent with the electric avoided cost forecast. Please refer to STF-PIA-2-9 Attachment A.

The “Energy” values on the “TMV” tab are consistent with the energy values from the Unit Retirement Study. AURORA workpapers can be found in Workpapers for Technical Appendix Volume 1, Section 4, Unit Retirement Study.

        - The intent of the market differential adjustment (“MDA”) calculation is to levelize the revenue requirements and see how that compares to the levelized projected market values of each unit and adjust to make sure the pricing to retail is reflective of the current projected market value.

The revenue requirements take the declining revenue requirements and use the payment function in Excel to determine the levelized revenue requirement that is equivalent (annually). This annual number is then divided into a monthly charge by dividing by the megawatts (“MW”) offered.

The ”TMV” tab projects the value of the resource by valuing the capacity of the resource at the ECC of a CT and assigning an energy benefit based on the production costs savings from either the 2025 IRP 111-MG0 or MG0 planning scenarios.