STF-JKA-2-30

Question:

Regarding the Goat Rock project

- In the 2019 IRP, the Company sought approval to do work on the Goat Rock hydro plant. Is the Company seeking approval to do the same project or are there differences in what the Company is now seeking approval for? Please explain the differences.

- How does the cost of the 2019 project compare to the 2025 project at Goat Rock.

- In the 2019 IRP, the Company proposed to rename the units at Goat Rock after completing the modernization project. Is the Company proposing to do that after completing the 2025 IRP project?

Response:

- In the 2019 IRP, the Company requested approval of a certification amendment for the redevelopment of the turbines at Plant Goat Rock to correct a flow imbalance in the Chattahoochee Hydro Group. In this IRP, the Company still plans to pursue the redevelopment of the turbines at Plant Goat Rock to address the same flow issue; however, the Company is seeking approval to develop, own, and operate the capacity increase associated with this project to proceed with further engineering and procurement processes to determine the optimal technology solution and design. This engineering study will determine if there will be changes to the project scope compared to the 2019 IRP request.

The estimated hydro modernization budget and the estimated capacity increase of 16 MW for Plant Goat Rock in the 2025 IRP are based on the 2019 IRP project scope. Following the engineering studies, Georgia Power will provide a certification amendment application, including final engineering, procurement, and construction agreements and project cost estimates for Commission approval once finalized.

- In the 2019 IRP, the Company included the full 10-year capital budget for the hydro fleet, including hydro modernization projects. The total estimated 10-year capital budget for Plant Goat Rock was approximately $184 million. In the 2025 IRP, the Company has included the estimated hydro modernization budget for Plant Goat Rock as approximately $144 million.  See response to subpart (a) for information on the engineering studies to be completed and impact on the estimated hydro modernization budget.

- No, at this time, the Company is not planning to rename Units 3-6. The Company will continue to evaluate and notify the Commission if there is a reason to do so during the certification amendment application process.