STF-JKA-2-32

Question:

Refer to page 23 of the Main Document of the IRP describing two load forecasts (Standard, Standard w/ HG0 Delta) and references to “additional load views considered in the B2025 Load & Energy Forecast in the Technical Appendix Volume 1 and the Financial Review in Technical Appendix Volume 2.”

        - Please provide a list of the load forecast sensitivities produced and which were also studied in the resource mix process. Please reconcile any differences. If any load sensitivities were produced, but not studied in Aurora for an optimal expansion plan, please explain why not.

        - Refer to the list of load forecasts provided in “Table 1: List of Sensitivities for Financial Review” provided in 2025 IRP Financial Review TRADE SECRET.docx.  Please reconcile the financial review sensitivities to those provided in part a.

        - Please provide a summary of any statutory requirements related to load forecasting and how GPC has complied.

        - Provide a summary of the sensitivity forecasts on an annual GWh, winter Peak, and summer peak basis (similar to Attachment 8.2-1)

Response:

- The table below shows the loads developed as part of the Load & Energy Forecast and indicates which forecasts were modeled in Aurora for the Resource Mix Study, Financial Review, and/or Demand Side Management (“DSM”) Step 9 analyses.

| Load Forecast | Resource Mix Study | Financial Review | DSM Step 9 |
| --- | --- | --- | --- |
| Standard | X | X |  |
| Standard with HG Delta | X | X |  |
| High Economic Growth |  |  |  |
| Low Economic Growth |  |  |  |
| No Load Growth |  |  |  |
| High growth in large load customers |  | X |  |
| Load growth with no DSM growth |  | X | X |
| Load growth with aggressive DSM growth |  | X | X |
| Load growth using a 20-year normal definition of weather, as stipulated in the 2019 IRP |  |  |  |
| Proposed DSM |  |  | X |
| Capacity and Affordability DSM |  |  | X |

The scenario design for the Resource Mix Study includes the standard view of load growth and an alternative view considering the effects of higher natural gas prices on the load forecast. To support previous Integrated Resource Plan (“IRP”) Resource Mix Studies, the Company has considered as few as zero and as many as three alternatives to its official load forecast, which were not meaningfully different from one another from either a Resource Mix Study perspective or when used to perform resource-specific economic evaluations for both demand-side and supply-side options. The Company’s scenario design strives to assemble views into scenarios that are meaningfully different from one another. For the set of scenarios analyzed in the 2025 IRP, it was determined that one alternative was sufficient, especially when combined with other key uncertainties in developing the wide range of possible futures in the nine scenarios ultimately included in the 2025 IRP.

The High Economic Growth, Low Economic Growth, No Load Growth, and Load Growth using a 20-year normal definition of weather, as stipulated in the 2019 IRP, were not modeled in Aurora. These load forecasts were developed for the Load & Energy Forecast pursuant to Commission Rule 515-3-4-.03 Energy and Demand Forecasting Requirements in the Commission’s rules and regulations. This rule requires the Company to produce load forecast sensitivities for each of these forecasts but does not require the Company to run each of them through the resource mix process. All other load forecasts listed in the table above were modeled in Aurora as part of the Resource Mix Study or pursuant to Commission Rule 515-3-4.05 and are included in the Financial Review.

- See the table in the response to subpart (a).

- See response to subpart (a).

- As noted, Figure 8.2-1 of Technical Appendix Volume 1 B2025 Load and Energy Forecast TRADE SECRET provides annual energy and summer and winter peak demand for the Standard and Standard with HG0 delta load forecasts. Figures 8.1-1 through 8.1-3 provide this information for the High Economic Growth, Low Economic Growth, No Load Growth, 20-Year Weather Normal, High Growth in Large Customers, No DSM, and Aggressive DSM cases. Please see STF-JKA-2-32 Attachment TRADE SECRET for the Company’s summer and winter peak demand and annual energy for the Proposed and Capacity and Affordability DSM cases.