STF-JKA-2-37

Question:

See the comparison of peak load and energy forecasts on pages 24 and 25 of the Main Document.  Please provide insight as to why the forecasts are nearly on top of each other.  Doesn’t that mean any results produced using the alternative load forecast would provide very little value since there is no real differentiation in the assumptions?

Response:

In the Resource Mix Study supporting the 2025 IRP, the Company has used two different views of load growth—Standard and Standard + HG0 Delta. The latter is a load forecast that represents an adjustment to load associated with a higher forecast of natural gas price. These two load forecasts are not dramatically different from each other because a higher gas price has opposing effects on electricity consumption. Because natural gas is an input to electricity production, a higher price of natural gas will increase the cost of electricity, thereby decreasing load growth. Because natural gas is a substitute for electricity in some end-uses, a higher price of natural gas will increase electricity consumption in those uses, increasing load growth. The net of these opposing effects is a decrease in load growth relative to the Standard view.

While load growth is not dramatically different in the Standard + HG0 Delta view, the scenario that uses this view also uses a significantly higher view of the future price of natural gas, so the results produced when using the alternative load forecast are meaningfully different from results produced when using the Standard load forecast and the Moderate fuel price view, for example, because of the combination of these two drivers.