STF-JKA-2-6

Question:

Refer to the Main Document page 60 which articulates the Company’s intention to, “Issue RFPs designed to procure energy from up to 4,000 MW of renewable resources by 2035, including the 2026 Utility Scale RFP targeting 1,000 MW of utility-scale renewable resources expected to reach commercial operation between November 30, 2030, and November 30, 2032.”

- Please explain how the targets (MW) were derived.  Explain the methodology used and provide the workpapers developed to derive the targets. Provide this electronically, with all formulae intact.

- Please explain how the timeline (November 2030-2032) was determined.

- When does the Company expect to issue the RFP for the Nov 2030-2032 resources?

- When does the Company expect to issue the RFPs for the remaining resources needed by 2035 to reach 4,000 MW of renewable resources.

- Explain if these planned procurements are related to the results of the Resource Mix Study and how they may or may not overlap with existing resource procurement plans.

Response:

- The Company’s intent with proposing an initial 1,000 MW target amount with the ability to procure up to 3,000 MW of additional resources was selected based on procurement expectations from ongoing RFPs, recent Georgia Power Utility Scale Renewable RFP experience, expected customer demand for new renewable energy, and generic renewable allocations to Georgia Power across all scenarios in the Company’s 2025 IRP Resource Mix Study. provides the average generic renewable allocations that helped to inform the plan to add up to 4,000 MW of new renewable resources by 2035. Note that the years 2025 through 2031 are excluded from this calculation due to either (i) selection of zero renewable resources in the generic expansion plan for a given year or (ii) overlap with procurement years for active Georgia Power Utility Scale Renewable RFPs.

- Allowing for changes in flexibility in required Commercial Operation Dates (“COD”) provides more flexibility for the market. RFP participants will have an opportunity to submit projects and proposals with CODs over a range of years rather than a single date certain. Allowing flexibility both within and beyond the COD window range allows for the market to bid the most competitive projects and for the Company to consider a more projects for selection and thereby providing more value for Georgia Power’s customers.

- Pending Commission approval, the Company expects to issue the CARES 2026 Utility Scale RFP in Q3 2026.

- No dates for subsequent renewable RFPs have been determined. Future renewable RFPs will be proposed to the Commission for approval as informed by customer needs and the results of prior solicitations.

- As noted above, generic renewable allocations to Georgia Power across all scenarios in the 2025 IRP Resource Mix Study helped to inform the plan to add up to 4,000 MW of new renewable resources by 2035. Note that the years 2025 through 2031 are excluded from this calculation due to either (i) selection of zero renewable resources in the generic expansion plan for a given year or (ii) overlap with procurement years for active Georgia Power Utility Scale Renewable RFPs.