STF-JKA-2-7

Question:

Refer to the Main Document page 60 which articulates the Company’s intention to, “Issue the 2026 and 2027 Distributed Generation RFPs, each for 50 MW, for a total of 100 MW of distributed generation resources to reach commercial operation in 2027, 2028 and 2029.”

- Please explain how these targets (MW) were derived. Explain the methodology used and provide the workpapers developed to derive the targets. Provide this electronically, with all formulae intact.

- Please explain how the timeline (2027, 2028, 2029) was determined.

- When does the company expect to issue this RFP?

- Explain if these planned procurements are related to the results of the Resource Mix Study and how they may or may not overlap with existing resource procurement plans.

Response:

- The Company’s intent with proposing 100 megawatts (“MW”) as the initial DG target amount was to set an achievable target based on the Company’s experience with prior Distributed Generation (“DG”) RFPs as well as to set a target that supports the Company’s Resource Mix Study. During the past three DG RFPs, the Company has procured less than 90 MW per Integrated Resource Plan (“IRP”) cycle:

| RFP | Procurement |
| --- | --- |
| REDI DG RFP | 86.10 MW |
| 2020 DG RFP | 88.96 MW |
| 2023 DG RFP | 41 MW |
| 2024 DG RFP | TBD |

The 100 MW target is achievable based on these results, while providing the option for additional procurements. It should also be noted that the Company has proposed a mechanism to seek additional resources beyond 100 MW if needed to meet customer subscription demand.

- The commercial operation timelines proposed are based on the Company’s experience with past DG RFPs, which indicates a timeline of online approximately 18-24 months after RFP issuance to bring DG resources online. These timelines are based on the Required Mechanical Completion Date timeline after Commission Certification, as specified in the DG RFP.

- Pending Commission approval, the Company estimates issuing the 2026 and 2027 DG RFPs in Q1 2026 and Q1 2027, respectively.

- The planned procurements are based on the Company’s past DG RFP experience and the generic renewable allocations to Georgia Power across all scenarios in the 2025 IRP Resource Mix Study. The Company has not only seen on average more success with bids progressing to the target list but also received positive feedback from DG RFP stakeholders and participants on this two RFP approach. The target does not include overlap with existing DG RFPs.