STF-JKA-2-8

Question:

Refer to Main Document p. 3, which states, “To address capacity needs beyond 2031, the Company plans to conduct All-Source Capacity Requests for Proposals (“RFP”) including issuing an RFP in the third quarter of 2025 to meet capacity needs for 2032 and 2033, while also seeking to add up to 4,000 MW of incremental renewable resources to the electric system by 2035.”

    - Please explain what amounts of MW will be targeted in the RFP?

    - Please explain how the timeline (2032 - 2033) was determined.

    - Is the Company still on target to issue this RFP in third quarter 2025?

    - Explain if these planned procurements are related to the results of the Resource Mix Study and how they may or may not overlap with existing resource procurement plans.

Response:

    - As has been done in prior Capacity Requests for Proposals (“RFP”), the initial RFP range for targeted capacity will be based on the Company’s known capacity needs at the time of issuance of the RFP. However, the ultimate capacity amount procured and requested for certification will be based on the Company’s known needs at the time of certification of the RFP.

    - The timeline was determined based on projected capacity needs beyond the current ongoing All-Source Capacity RFP for 2029-2031 that were identified in this 2025 Integrated Resource Plan (“IRP”). This timeline allows the Company to plan and procure resources sufficiently in advance to allow for construction and procurement of a diverse and reliable supply of electricity, and to meet anticipated demand growth.

    - Yes, the Company is still on target to issue the All-Source Capacity RFP for 2032-2033 in the third quarter of 2025 and will move forward with preparatory actions with input and approval from the Commission, Staff, and the Independent Evaluator.

    - Yes, the planned Capacity RFP is built on the results of the Resource Mix Study. The All-Source Capacity RFP will aim to secure comparable products to those targeted in the current and past capacity RFPs, adhering to the guidance provided by the study. The Resource Mix Study offers insights into the optimal mix of technologies, which influence the types of resources sought in the RFP process. However, the specific capacity amount and the procurement outcome will ultimately be determined based on the market responses, the Company’s evaluation process, economic decision analysis, and established procurement protocols. Although Georgia Power may have more than one RFP active at a given time, the Company’s previously approved RFPs are not expected to overlap in terms of when the resources sought are needed to come online. Moreover, the results of the existing RFPs will be factored into the incremental capacity needs which will be procured through the All-Source Capacity RFP for 2032-2033.