STF-PIA-30-1

Question:

For BIL provision 40332 and Section 243 of Energy Policy Act of 2005 (“EPAct 2005”) Hydroelectric Efficiency Improvement Incentives (“HEII”) can the company provide:

- Negotiated terms for award made with the DOE Grid Deployment Office (“GDO”) for Tugalo Units 1-4 Turbine Upgrades.

- Did Georgia Power receive any HEII for Tugalo upgrades?

- If yes, what were those incentives and how were or will the incentives be reflected in the Company’s ASR filings?

- How were the HEII reflected in project cost table in Excel file “Hydro Mod Report Period ending 06.30.2024” worksheet “Tugalo”?

- Anticipated schedule and completion for Tugalo Units 3 and 4 Turbine Upgrades

- Breakdown of specific upgrades for each Turbine for Tugalo Units 1-4.

- Define the total cost per Turbine that the Company will need to invest for Tugalo Units 1-4 Turbine upgrades barring HEII investment.

- Future HEII projects anticipated.

Response:

- See STF-PIA-30-1 Attachment. Additionally, the Company was notified on March 13, 2025, that the Department of Energy (“DOE”) will be working to modify the Section 243 agreement documents for all projects.

- See the Company’s responses to STF-PIA-29-1 and STF-PIA-29-4.

- See the Company’s response to STF-PIA-29-4. When received, the funds will reduce the cost of the applicable project through credits to Construction Work in Progress (“CWIP”) or plant in-service, and therefore, ultimately result in a reduction of costs included in the Company’s ASR filings.

- The HEII payments are not currently reflected in the project cost table in the Company’s bi-annual hydro modernization report because the DOE will award the full amount following the successful completion of the project for all four units.

- Plant Tugalo Unit 3 began generating on October 8, 2024. Plant Tugalo Unit 4 first generated as part of the modernization commissioning process on April 17, 2025. Under the terms outlined in the attachment included with the response to subpart (a), the Company must submit applicable documentation for DOE approval in July 2025. Once approved, the Company expects to receive the $5 million grant payment by the end of 2025.

- The Plant Tugalo modernization project includes full turbine replacements for Units 1-4.

- Because the total amount of projects costs for turbine equipment and installation for Units 1-4 exceeded the 30% funding cost threshold, Georgia Power requested and was awarded the maximum $5 million in funding for the total project. The grant is not applied per turbine.

- No. As outlined in the Company’s response to STF-PIA-29-5, the Company will not receive future HEII at Plant Tugalo.