Docket 56002 and 56003
PUBLIC DISCLOSURE Summary of Errata to the Direct Testimony of Trokey, Drugan, and Pol

Correction #1 – p. 17, Table 3

Original Table

Edited Table

| Year | Summer | Winter |
| --- | --- | --- |
| 2018 | 15,748 | 15,372 |
| 2019 | 16,572 | 14,394 |
| 2020 | 15,831 | 14,425 |
| 2021 | 16,213 | 14,499 |
| 2022 | 17,074 | 15,674 |
| 2023 | 16,720 | 14,227 |
| 2024 | 16,555 | 16,458 |
| CAGR, 2018-2024 | 0.84% | 1.14% |
| CAGR, 2024-2032 | 5.75% | 5.69% |
| CAGR, 2032-2044 | 1.06% | 1.14% |
| CAGR, 2024-2044 | 2.91% | 2.94% |

Correction #5 – p. 30, Table 7

Original Table

Table 7: Calibration of LT Energy Forecast to ST Energy Forecast
(% Calibration Relative to LT Forecasted Energy)

|  | Including Adjustments |  |  | Excluding Adjustments |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Residential | Commercial | Industrial | Residential | Commercial | Industrial |
| 2024 | -2% | 0% | -3% | X% | X% | X% |
| 2025 | -2% | 6% | -2% | X% | X% | X% |
| 2026 | 0% | 22% | 0% | X% | X% | X% |
| 2027 | 1% | 55% | 1% | X% | X% | X% |
| 2028 | 3% | 95% | 4% | X% | X% | X% |
| 2029 | 4% | 130% | 5% | X% | X% | X% |
| 2030 | 5% | 153% | 6% | X% | X% | X% |
| 2031 | 6% | 164% | 8% | X% | X% | X% |
| 2032 | 6% | 168% | 8% | X% | X% | X% |
| 2033 | 7% | 170% | 7% | X% | X% | X% |
| 2034 | 7% | 171% | 7% | X% | X% | X% |
| 2035 | 8% | 172% | 7% | X% | X% | X% |
| 2036 | 8% | 173% | 7% | X% | X% | X% |
| 2037 | 9% | 172% | 6% | X% | X% | X% |
| 2038 | 10% | 172% | 6% | X% | X% | X% |
| 2039 | 10% | 173% | 6% | X% | X% | X% |
| 2040 | 11% | 173% | 6% | X% | X% | X% |
| 2041 | 11% | 173% | 5% | X% | X% | X% |
| 2042 | 12% | 173% | 5% | X% | X% | X% |
| 2043 | 13% | 173% | 5% | X% | X% | X% |
| 2044 | 13% | 174% | 5% | X% | X% | X% |

Edited Table

Table 7: Calibration of LT Energy Forecast to ST Energy Forecast
(% Calibration Relative to LT Forecasted Energy)

|  | Including Adjustments |  |  | Excluding Adjustments |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Residential | Commercial | Industrial | Residential | Commercial | Industrial |
| 2024 | -2% | 0% | -3% | X% | X% | X% |
| 2025 | -2% | 6% | -2% | X% | X% | X% |
| 2026 | 0% | 22% | 0% | X% | X% | X% |
| 2027 | 1% | 55% | 1% | X% | X% | X% |
| 2028 | 3% | 95% | 4% | X% | X% | X% |
| 2029 | 4% | 130% | 5% | X% | X% | X% |
| 2030 | 5% | 153% | 6% | X% | X% | X% |
| 2031 | 6% | 164% | 8% | X% | X% | X% |
| 2032 | 6% | 168% | 8% | X% | X% | X% |
| 2033 | 7% | 170% | 7% | X% | X% | X% |
| 2034 | 7% | 171% | 7% | X% | X% | X% |
| 2035 | 8% | 172% | 7% | X% | X% | X% |
| 2036 | 8% | 173% | 7% | X% | X% | X% |
| 2037 | 9% | 172% | 6% | X% | X% | X% |
| 2038 | 10% | 172% | 6% | X% | X% | X% |
| 2039 | 10% | 173% | 6% | X% | X% | X% |
| 2040 | 11% | 173% | 6% | X% | X% | X% |
| 2041 | 11% | 173% | 5% | X% | X% | X% |
| 2042 | 12% | 173% | 5% | X% | X% | X% |
| 2043 | 13% | 173% | 5% | X% | X% | X% |
| 2044 | 13% | 174% | 5% | X% | X% | X% |

Correction #6 – p. 41, Table 12

Original Table

Table 12: LT Forecast Calibration (% of Original LT Forecast Value)

|  | Excluding Adjustments |  |  |
| --- | --- | --- | --- |
| Year | Residential | Commercial | Industrial |
| 2024 | x% | x% | x% |
| 2025 | x% | x% | x% |
| 2026 | x% | x% | x% |
| 2027 | x% | x% | x% |
| 2028 | x% | x% | x% |
| 2029 | x% | x% | x% |
| 2030 | x% | x% | x% |
| 2031 | x% | x% | x% |
| 2032 | x% | x% | x% |
| 2033 | x% | x% | x% |
| 2034 | x% | x% | x% |
| 2035 | x% | x% | x% |
| 2036 | x% | x% | x% |
| 2037 | x% | x% | x% |
| 2038 | x% | x% | x% |
| 2039 | x% | x% | x% |
| 2040 | x% | x% | x% |
| 2041 | x% | x% | x% |
| 2042 | x% | x% | x% |
| 2043 | x% | x% | x% |
| 2044 | x% | x% | x% |
| Average | 0% | 6% | 6% |

Edited Table

Table 12: LT Forecast Calibration (% of Original LT Forecast Value)

|  | Excluding Adjustments |  |  |
| --- | --- | --- | --- |
| Year | Residential | Commercial | Industrial |
| 2024 | x% | x% | x% |
| 2025 | x% | x% | x% |
| 2026 | x% | x% | x% |
| 2027 | x% | x% | x% |
| 2028 | x% | x% | x% |
| 2029 | x% | x% | x% |
| 2030 | x% | x% | x% |
| 2031 | x% | x% | x% |
| 2032 | x% | x% | x% |
| 2033 | x% | x% | x% |
| 2034 | x% | x% | x% |
| 2035 | x% | x% | x% |
| 2036 | x% | x% | x% |
| 2037 | x% | x% | x% |
| 2038 | x% | x% | x% |
| 2039 | x% | x% | x% |
| 2040 | x% | x% | x% |
| 2041 | x% | x% | x% |
| 2042 | x% | x% | x% |
| 2043 | x% | x% | x% |
| 2044 | x% | x% | x% |
| Average | 0% | 6% | -6% |

Correction #10 – p. 54, Table 17

Original Table

Edited Table

| Segment | Q1 2024 | Q2 2024 | Subtotal | % Total |
| --- | --- | --- | --- | --- |
| Data Center | 5,574 | 1,593 | 7,167 | 83% |
| Other | 50 | 166 | 216 | 2% |
| Manufacturing | 334 | 700 | 1,034 | 12% |
| Clean Energy Tech | 122 | 136 | 258 | 3% |
| Total | 6,080 | 2,595 | 8,675 | 100% |

Correction #11 – p. 54, Table 18

Original Table

Edited Table

| Segment | Q1 2024 | Q2 2024 | Subtotal | % Total |
| --- | --- | --- | --- | --- |
| Data Center | 14 | 5 | 19 | 63% |
| Other | 1 | 2 | 3 | 10% |
| Manufacturing | 3 | 1 | 4 | 13% |
| Clean Energy Tech | 2 | 2 | 4 | 13% |
| Total | 20 | 10 | 30 | 100% |

Correction #12 – p. 55, Table 19

Original Table

Edited Table

| Segment | Announced Load | Removals | Removals, % of Announced Load |
| --- | --- | --- | --- |
| Data Center | 18,866 | 7,167 | 38% |
| Other | 408 | 216 | 53% |
| Manufacturing | 5,480 | 1,034 | 19% |
| Clean Energy Tech | 1,110 | 258 | 23% |
| Total | 25,864 | 8,675 | 34% |

Technical Appendix Volume 1, PUBLIC DISCLOSURE Budget 2025 Load and Energy Forecast Report, 2025 to 2044, Attachments 5.1.1-1, 5.1.1-2, & 5.1.1-3, and associated workpapers.

Excludes adjustments to the LT energy forecasts for Solar, EVs, DSM, and Cogeneration.

Company Response to Data Request STF-DEA-1-37 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-38 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-39 and associated TRADE SECRET Attachment.

Technical Appendix Volume 1, PUBLIC DISCLOSURE Budget 2025 Load and Energy Forecast Report, 2025 to 2044, Attachments 5.1.1-1, 5.1.1-2, & 5.1.1-3, and associated workpapers.

Excludes adjustments to the LT energy forecasts for Solar, EVs, DSM, and Cogeneration.

Company Response to Data Request STF-DEA-1-37 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-38 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-39 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-37 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-38 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-39 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-37 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-38 and associated TRADE SECRET Attachment.

Company Response to Data Request STF-DEA-1-39 and associated TRADE SECRET Attachment.