Responses required within 30 days of electronic mail.  Provide the following information for this report:

Response to Inspection Number:	JJ24-009

| Type of Enforcement Action(s) cited in report: |  | Informal Conference Requested |
| --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) | ☐ New ☒Continuing | ☐ Yes ☒ No |
| ☐ Notice of Amendment (NOA) | ☐ New ☐Continuing | ☐ Yes ☐ No |
| ☐ Warning Letter | ☐ New ☐Continuing | ☐ Yes ☐ No |
| ☐ Letter of Concern | ☐ New ☐Continuing | ☐ Yes ☐ No |
| ☐ Observed Issue | ☐ New ☐Continuing | ☐ Yes ☐ No |
| ☐ Proposed Civil Penalty | $ |  |
|  | PCP $ Amount (Total for report) |  |

---------------------------------------------------------------------------------------------------------------------------

Indicate below (A-E) based on the type of Enforcement Actions in this report: (Check all that apply)

Complete a separate copy of Page 2, Operator Response to Enforcement Action, for each cited item.

- Response for Notice of Probable Violation (with and without proposed civil penalty):

- ☒	Written statement indicating that corrective measures have achieved Compliance or

- ☐	Written plan of action outlining the corrective measures that will be taken to achieve compliance

and when compliance is anticipated.

- Response for NOA:

- ☐	Contested: Attach written explanation, information, or other material in answer to the allegations

in the Notice of Amendment stating your reasons for objecting to the NOA, in whole or in part; or

- ☐	Not Contested:  Explanation, information, or other material believed to warrant modification of

the NOA in whole or in part; or

- ☐	Written request for clarification. (Attached)

- Response for Continuing and/or Existing violations:

Current status, updates, expected completion dates, proposed modifications, etc., of the continuing and/or existing violations, even if this information was previously provided.  Referencing a previously filed response letter, as status, updates, etc. alone is not sufficient for this response.  Failure to provide this information may result in formal interrogatories from the Director through data requests.

- Response for ☐ Letter of Concern / ☐ Warning Letter

I acknowledge receipt of the Letter of Concern/Warning Letter:

SIGNATURE / TITLE

Additional Comments: (Optional)

- Response for Observed Issue and No Violation: (Optional Response)

Staff requests that the Operator acknowledge receipt of the Observed Issue/No Violation in writing, or by submitting an email to the FPU Director

Enforcement Action for:	§192.455			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin (Lumpkin) submits the following status to the Probable Violation 192.455 as cited in Inspection Number LB10-047 conducted on 5-4-2010. Lumpkin abandoned the last remaining known bare steel service on March 18, 2025. A copy of the work order is attached.  Lumpkin respectfully requests that this Probable Violation be cleared.

Response Provided by:  Anne Holloway, City Clerk    		   Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for: Consent Agreement Pending			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS RESPONSE: 	 The City of Lumpkin (Lumpkin) submits the following status to the Continuing Probable Violation of Consent Agreement Pending as cited in JS18-001 conducted on 1/23/2018. On August 30, 2019, the FPU Director emailed a finalized Consent Agreement that addresses the City of Social Circle. In an email to PSC Staff (Staff) on October 16, 2020, Lumpkin provided a status update stating that edits to the Consent Agreement received in 2019 were submitted and informed Staff that Lumpkin has not received a finalized (corrected) version of the Consent Agreement. Staff performed Follow Up Inspection CS17-014 to the Continuing Probable Violations cited in Inspection Report LB16-003. For each observed deficiency noted in Inspection Report LB16-003, Staff stated, “Staff determined that the operator has taken action to address the probable violations; however, Staff also found that the Consent Agreement for the proposed civil penalty has not been finalized. Staff determined that this violation will need to remain open for tracking purposes until the Consent Agreement has been completed”. In Follow Up Inspection JS18-001 conducted on January 23, 2018, Staff stated for each observed deficiency “The day before reporting to Lumpkin on January 23, 2018, Lead Inspector discussed this violation with the Pipeline Safety Director and determined that this probable violation can be cleared at this time. Staff cleared the Continuing Violations cited in LB16-003 and cited “Consent Agreement Pending” as a new Probable Violation with the description of “Operator is negotiating Consent Agreement with the FPU Director”. Lumpkin is currently awaiting a finalized corrected version of the Consent Agreement to address the proposed civil penalty.

Response Provided by: Anne Holloway, City Clerk      	           	Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.453 			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.453 cited in JJ21-050 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk     	           	Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.605(a)			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.605(a) cited in JJ21-05 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow-Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk  	              Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.615(c)			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.615(c) cited in JJ21-050 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk        	   Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.603(b)			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.603(b) cited in JJ21-050 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk		Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.805(b)			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.805(b) cited in JJ21-050 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk               	Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.467(c)			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.467(c) cited in JJ21-050 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk				Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Enforcement Action for:	§192.481(c)			☐ New Violation	☒ Continuing Violation

Enter Code / Commission Rule (Complete a separate attachment for each enforcement action)

| Enforcement Action(s) cited in report: |  | Conference Requested: |  |
| --- | --- | --- | --- |
| ☒ Notice of Probable Violation (NOPV) |  | ☐ Yes ☒ No | $ |
| ☐ Notice of Amendment (NOA) |  | ☐ Yes ☐ No | Proposed Penalty for this violation |
| ☐ Warning Letter |  | ☐ Yes ☐ No |  |
| ☐ Letter of Concern |  | ☐ Yes ☐ No |  |
| ☐ Observed Issue |  | ☐ Yes ☐ No |  |
| ☐ Proposed Civil Penalty |  | ☐ Yes ☐ No |  |

OPERATORS' RESPONSE: 	The City of Lumpkin submits the following status to the Continuing Probable Violation of 192.481(c) cited in JJ21-050 conducted on 10/19/2021. On January 15, 2025, PSC Staff performed a Follow Up Inspection on the Continuing Probable Violation 192.453 and received documentation of corrective actions taken. 	Lumpkin is currently awaiting the finalized report stating whether the Probable Violation can be cleared or if it will continue.

Response Provided by: Anne Holloway, City Clerk				Date:	May 27, 2025

Name / Title

Internal use only:

Lead Inspector: 					Date Response Reviewed:

Actions Acceptable: ☐ Yes  ☐No 	Re-inspection Needed:☐ Yes  ☐ No 		Clear Violation:☐ Yes  ☐ No

Supervisor Review by:					Date Reviewed:

Additional Enforcement Recommended: ☐ Yes  ☐ No

Director Review

Approved: ☐ Yes  ☐No			Schedule Special Follow-up Inspection: ☐ Yes  ☐ No

Cleared Violation: ☐ Yes     ☐ No

Comments:

Filings:

For all written responses or any other official correspondence, the Operator shall file the response at the following address:

Ms. Sallie Tanner, Executive Secretary

Georgia Public Service Commission

244 Washington Street, SW

Atlanta, Georgia 30334

The Operator must file five (5) copies of any response and/or official correspondence, as well as a CD with an electronic version of the response in Microsoft Word and/or a PDF, if applicable.

Informal Conference:

Any Operator who chooses to request an informal conference shall request such a conference through emailing the Director (michellet@psc.state.ga.us), calling the Director (404-463-2765), or selecting the “Request Conference” choice.

Civil Penalty Payments:

Certified check for the full amount of the recommended civil penalty or consent agreement amount made payable to the Georgia Public Service Commission. The Operator’s name, applicable Docket No., and Inspection Report No. must be included on the certified check.  Mail payment to:

Ms. Michelle Thebert, Director, Facilities Protection Unit
Georgia Public Service Commission

244 Washington Street

Atlanta, Georgia  30334

Hearing Requests:

The Operator has the right to request a hearing before the full Commission to contest the alleged probable violations, recommended civil penalties, and all other proposed actions of enforcement.  A request for a hearing must be submitted in writing and in accordance with Commission Rule 515-2-1-.04. The Operator must include a statement of the issues that you intend to raise at the hearing. The issues may relate to the allegations, new information, proposed compliance order, proposed civil penalty, or any other recommendation for enforcement action. Please refer to Commission Rule 515-9-3-.11 and O.C.G.A. § 46-2-91 for assessment considerations upon which civil penalties are based. An operator's failure to specify an issue may result in a waiver of the right to raise that issue at hearing. The request must also indicate whether or not the Operator will be represented by counsel at the hearing.

Open Records and Trade Secret Filings:

The Operator is advised that any material provided to the Commission, and all materials prepared by the Commission, including the Notice of Probable Violations and any Orders issued in this case, may be considered public information and subject to disclosure under the Georgia Open Records Act (O.C.G.A. § 50-18-70 et seq.).

If you believe that any portion of your response material is security sensitive, privileged, confidential or may cause your company competitive disadvantages and would qualify for protection under the Commission’s “Trade Secret Rule” (Commission Rule 515-3-1-.11), you must, along with the complete original document clearly marked “TRADE SECRET” on each page, provide a second copy of the document with the portions you believe qualify for trade secret treatment redacted, and an explanation of why you believe the redacted information qualifies for such trade secret treatment.  Should the Commission receive a request for disclosure of any “TRADE SECRET” material, you will be notified, if after review, the materials and your provided justification are deemed not to meet any exemptions provided in the Georgia Open Records Act.  You may appeal the Commission's decision to release material at that time. Your appeal will stay the release of those materials until a final decision is made.