STF-WG-3-3

Question:

Referring to the new DER Customer program, LCO-1, proposed in the 2025 IRP:

- Please provide details for how the credit is calculated with an example.

- How does this compare for demand response credits for DPEC-4?

Response:

- In general, to calculate the credit for the Large Customer Owned Resiliency (“LCOR”) Program:

- Establish the amount of demand response the customer can provide by using on-site eligible generation.

- Calculate the levelized DER capacity value, similar to the DER Customer Owned Program (“DCO-1”) calculation in response to STF-WG-3-2(a).

  - Calculate the capacity value by taking the Retail Capacity Price Forecast (“RCPF”) [$/kW-yr] from the in-service year through the term of the requested agreement.

  - Levelize these annual values with an appropriate discount rate.

  - Multiply by 75%.

- Multiply the demand response capacity (Step 1) by the levelized DER capacity value (Step 2) and divide by 12 to determine the fixed monthly credit for the term of the agreement.

- Theoretically, if the customer has a firm base load of 100 MW and commits to reduce to 50 MW during a demand response event, the capacity credit would be derived from the difference between the firm load and the demand response commitment (i.e., 100 MW -50 MW = 50 MW). With an assumed $100/kW-yr levelized capacity value, the resulting monthly credit value would be (50,000 kW x $100/kW-yr x 0.75 ÷ 12 months/yr) = $312,500/mo. That said, specific parameters regarding customer load and demand reductions can affect credit value and will be identified in the customer specific agreement.

- Demand response credits for the Demand Plus Energy Credit (“DPEC”) program have been reviewed and established during rate case proceedings and outlined in the current DPEC-5 tariff.