STF-WG-3-5

Question:

Refer to STF-WG-2-6 filed in this docket. For each of the 28 utility-scale systems listed:

- Identify any that are installed on the distribution system, and for each, please identify the distribution circuit on which the utility-scale system is installed.

- Identify the operating system (SCADA, EMS, AMDS, etc.) used to control the utility-scale DER installation as of December 31, 2024.

Response:

- The table from the Company’s response to STF-WG-2-6 has been updated to include distribution circuits for the three utility scale projects that are interconnected to Georgia Power’s distribution system.

| Project | Peak AC Capacity (MW) | Interconnection | Circuit |
| --- | --- | --- | --- |
| WADLEY SOLAR, LLC | 260.0 | Transmission |  |
| COOL SPRINGS SOLAR, LLC | 213.0 | Transmission |  |
| TWIGGS COUNTY SOLAR, LLC | 200.0 | Transmission |  |
| DECATUR SOLAR ENERGY CENTER | 200.0 | Transmission |  |
| HICKORY PARK SOLAR, LLC | 195.5 | Transmission |  |
| SOUTHERN OAK SOLAR ENERGY CENTER | 160.0 | Transmission |  |
| QUITMAN SOLAR, LLC | 150.0 | Transmission |  |
| QUITMAN II SOLAR, LLC | 150.0 | Transmission |  |
| WASHINGTON COUNTY,LLC | 150.0 | Transmission |  |
| DOUGHERTY COUNTY (C&I REDI) | 120.0 | Transmission |  |
| WHITE PINE SOLAR LLC | 101.3 | Transmission |  |
| SOUTHERN POWER BUTLER SOLAR | 100.0 | Transmission |  |
| SOUTHERN POWER DECATUR PARKWAY SOLAR | 79.9 | Transmission |  |
| WHITE OAK SOLAR | 76.5 | Transmission |  |
| TANGLEWOOD (C&I REDI) | 57.5 | Transmission |  |
| LIVE OAK SOLAR | 51.0 | Transmission |  |
| SIMON SOLAR FARM LLC | 30.0 | Transmission |  |
| SOUTHERN POWER | 30.0 | Transmission |  |
| SOUTHERN POWER BUTLER SOLAR | 20.0 | Transmission |  |
| DOMINION RESOURCES,INC RICHLAND SOLAR CENTER | 20.0 | Transmission |  |
| OLD MIDVILLE ROAD SOLAR FACILITY IC-393 | 20.0 | Transmission |  |
| SOUTHERN POWER DECATUR COUNTY SOLAR | 18.9 | Transmission |  |
| SOLAR GLYNN LLC | 17.7 | Transmission |  |
| SDD SOLAR PROJECT 1 LLC | 16.0 | Transmission |  |
| RINCON SOLAR 1 | 16.0 | Transmission |  |
| DUBLIN SOLAR I, LLC | 4.1 | Distribution | REDACTED |
| GA SOLAR 2 LLC | 3.0 | Distribution | REDACTED |
| HSH PEMBROKE LLC | 1.0 | Distribution | REDACTED |
| Total | 2,461.3 |  |  |

- As of December 31, 2024, SCADA is the operating system used to control the utility scale DER installations.