Table 5: B2025 Technology Cost and Performance Summary

| Technology | Winter Capacity (MW) | ELCC | Average Heat Rate (Btu/ kWh) | Round Trip Efficiency | Fixed Capacity Factor | Overnight Cost (2024$/ kW) | Recurring Fixed Cost (2024$/ kW-yr) | Variable O&M ($/MWh) | Asset Life (Yrs) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Natural Gas Combined Cycle (NGCC) | 762 | 100% | REDACTED |  |  | REDACTED | REDACTED | REDACTED | REDACTED |
| NGCC with Local CCS | 663 | 100% | REDACTED |  |  | REDACTED | REDACTED | REDACTED | REDACTED |
| NGCC with Distant CCS | 663 | 100% | REDACTED |  |  | REDACTED | REDACTED | REDACTED | REDACTED |
| Combustion Turbine with SCR, Oil Winter (CT w SCR) | 856 | 100% | REDACTED |  |  | REDACTED | REDACTED | REDACTED | REDACTED |
| Solar Photovoltaic (PV) - Single Axis Tracker (SAT) | 200 | 0% |  |  | REDACTED | REDACTED | REDACTED |  | REDACTED |
| Onshore Wind Power | 150 | 35% |  |  | REDACTED | REDACTED | REDACTED |  | REDACTED |
| Lithium-ion Battery Energy Storage System (BESS) - 4 Hr | 300 (1,200 MWh) | 0-3000 MW :95% 3001-6000 MW : 75% 6001-9000 MW : 50% 9001+ MW : 25% |  | REDACTED |  | REDACTED | REDACTED | REDACTED | REDACTED |
| Medium Duration Energy Storage System | 480 (3,840 MWh) | 100% |  | REDACTED |  | REDACTED | REDACTED | REDACTED | REDACTED |
| Nuclear (AP-1000) | 2,248 | 100% |  |  |  | REDACTED | REDACTED |  | REDACTED |

2 Recurring fixed costs include Fixed O&M, Maintenance Capital, and Natural Gas Firm Transportation.