| COMMISSIONERS: JASON SHAW, Chairman FITZ JOHNSON, Vice-Chairman TIM G. ECHOLS LAUREN “BUBBA” McDONALD TRICIA PRIDEMORE |  | REECE McALISTER EXECUTIVE DIRECTOR SALLIE TANNER EXECUTIVE SECRETARY |
| --- | --- | --- |
| # Georgia Public Service Commission |  |  |
| (404) 656-4501 (800) 282-5813 | 244 WASHINGTON STREET, SW ATLANTA, GEORGIA 30334-5701 | FAX: (404) 656-2341 psc.ga.gov |

August 4, 2025

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

RE: 	Docket No. 56298 / Georgia Power Company’s Application for the Certification of

Capacity from the 2029-2031 All-Source RFP

Docket No. 56310 / Georgia Power Company’s Application for the Certification of

Capacity Supplemental Resources

Data Request from Commission Staff (STF-PIA-1)

Dear Mr. Haswell:

Enclosed herewith, please find Commission Staff Data Request STF-PIA-1.  Georgia Power’s initial responses to this Data Request package are requested as soon as possible, but not later than August 19, 2025.

If you have any questions concerning this transmittal, please contact Rob Trokey at 404-656-4549.

Sincerely,

Rob Trokey

Director

Electric Unit

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

Georgia Power Company’s	)

Application for the Certification of Capacity from	)	Docket No. 56298

The 2029-2031 All-Source RFP	)

)

Georgia Power Company’s	)	Docket No. 56310

Application for the Certification of Capacity	)

Supplemental Resources	)

STAFF'S DATA REQUEST STF-PIA-1 TO

GEORGIA POWER COMPANY

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

COMES NOW the Staff of the Georgia Public Service Commission (“Commission”) and, pursuant to the authority vested in it by the Commission pursuant to O.C.G.A. § 46-2-57, herein propounds the following interrogatories and requests for production of documents (collectively, “data requests”), to be answered under oath by designated representatives or agents of Georgia Power Company.  Staff requests that a complete set of the responses and supporting documents be filed with the Commission’s Executive Secretary in the manner set forth in Utility Rule 515-2-.04(4).  Staff requests that an original and five (5) copies be filed with the Executive Secretary of the Commission.  Accompanied therewith shall be an electronic version of the filing, which shall be made on a 3 ½ inch diskette or a CD ROM containing an electronic version of its filing in Microsoft Word® for text documents or Excel® for spreadsheets.  As contemplated by law, responses to these Data Requests are expected from Georgia Power Company on or before August 19, 2025.

## DEFINITIONS

As may be used in this document:

1.	“The Company,” “Georgia Power” or “The Utility” means Georgia Power Company and its present and former officers, employees, agents, representatives, directors, and all other persons acting or purporting to act on behalf of said Company.

- The term “you” and “your” refer to “the Company.”

- The term “person” means any natural person, corporation, corporate division, partnership, other unincorporated association, trust, government agency, or entity.

- The term “document” or “documentation” shall have the broadest possible meaning under applicable law.  “Document” or “documentation” means every writing or record of every type and description that is in the possession, custody or control of the Company including, but not limited to, correspondence, memoranda, e-mails, drafts, workpapers, summaries, stenographic or handwritten notes, studies, notices, publications, books, pamphlets, reports, surveys, minutes or statistical compilations, computer and other electronic records or tapes or printouts, including, but not limited to, electronic mail files; and copies of such writing or records containing any commentary or notation whatsoever that does not appear in the original.  The term “document” or “documentation” further includes, by way of illustration and not limitation, schedules, progress schedules, time logs, drawings, computer disks, chart projections, time tables, summaries of other documents, minutes, surveys, work sheets, drawings, comparisons, evaluations, laboratory and testing reports, telephone call records, personal diaries, calendars, personal notebooks, personal reading files, transcripts, witness statements and indices.

- The term “referring or relating to” means consisting of, containing, mentioning, suggesting, reflecting, concerning, regarding, summarizing, analyzing, discussing, involving, dealing with, emanating from, directed at, pertaining to in any way, or in any way logically or factually connected or associated with the matter discussed.

- “And” and “or” as used herein shall be construed both conjunctively and disjunctively and each shall include the other whenever such construction will serve to bring within the scope of these discovery requests any information that would not otherwise be brought within their scope.

- The singular as used herein shall include the plural and the masculine gender shall include the feminine and the neuter.

- “Identify” or “identifying” or “identification” when used in reference to a person other than a natural person means to state:  the full name of the person and any names under which it conducts business; the present or last known address of the person; and, the present or last known telephone number of the person.

- “Identify” or “identifying” or “identification” when used in reference to a document means to provide with respect to each document requested to be identified by these discovery requests a description of the document that is sufficient for purposes of a request to produce or a subpoena duces tecum, including the following:

    - the type of document (e.g., letter, memorandum, etc.);

    - the date of the document; the title or label of the document;

    - the Bates number or other identifier used to number the document for use in litigation; the identity of the originator;

    - the identity of each person to whom it was sent;

    - the identity of each person to whom a copy or copies were sent;

    - a summary of the contents of the document;

    - the name and last known address of each person who presently has possession, custody or control of the document;

    - if any such document was, but is no longer, in your possession, custody or control or is no longer in existence, state whether it: (1) is missing or lost; (2) has been destroyed; or (3) has been transferred voluntarily or involuntarily, and if so, state the circumstances surrounding the authorization for each such disposition and the date of such disposition.

- “Identify”, “identifying” or identity” when used in reference to a communication should be read to include information regarding the date of the communication, whether the communication was written or oral, the identity of all parties and witnesses to the communication, the substance of what was said and/or transpired and, if written, the identity of the document(s) containing or referring to the communication.

## INSTRUCTIONS

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

  - the privilege asserted and its basis.

  - the nature of the information withheld;

  - the subject matter of the document, except to the extent that you claim it is privileged.

      - The answers provided should first restate the question asked and also provide the name of the Company employee(s) or agents responsible for compiling and providing the information contained in each answer.

      - These data requests are to be answered with reference to all information in your possession, custody or control or reasonably available to you.  These discovery requests are intended to include requests for information, which is physically within your possession, custody or control as well as in the possession, custody or control of your agents, attorneys, or other third parties from which such documents may be obtained.

      - If any data request cannot be responded to or answered in full, answer to the extent possible and specify the reasons for your inability to answer fully.

      - These data requests are continuing in nature and require supplemental responses should information unknown to you at the time you serve your responses to these interrogatories subsequently become known.

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

- the privilege asserted and its basis.

- a log should be provided identifying starting and ending bates numbers.

- the nature of the information withheld;

- the subject matter of the document, except to the extent that you claim it is privileged.

- a description of the document to which the privilege applies.

RFP Documentation and Bid Evaluation

- Please provide the following files associated with the 2029-2031 RFP. Also include an index to clearly identify the purpose of each file being supplied. If files were already supplied, please indicate as such in the index.

- All bids received associated with the RFP.

- All bid evaluation workpapers and analyses, including calculation of costs and benefits used in the RFP process.

- All workpapers associated with the revenue requirement (SAM) excel model files.

- All bid evaluation Aurora modeling files (input.db, changeset.csf, project.apx, and output.db files) related to evaluation phases (e.g.  conforming bid phase, competitive tier phases, and short-list evaluation).  Please provide an index to clearly identify the purpose of each file and distinguish between phases.

- Any spreadsheets that were used to convert input assumptions into Aurora input data and any other intermediary workpapers, created either as part of the input data process, or the output reporting process.

- All Independent Evaluator (“IE”) report(s), including a Final Report received by the Company, and any summaries of significant IE findings the Company received during the RFP process, not included in the final IE report.

- Provide all analyses conducted ranking the 2029-2031 All Source RFP identified projects and supplemental projects side by side. Provide any summary memos, presentations, and/or workpapers supporting the comparisons and full list ranking evaluation.  Provide all workpapers electronically in excel spreadsheet format.

- Provide all presentations made to Georgia Power or Southern Company management or board of directors regarding the resources being acquired.

- For any analyses ranking the RFP bids and/or the supplemental projects,

- Please explain how the company determined an “order” for applying BESS ELCC tranches.

- How do the ELCC tranches used in the bid/project evaluations compare to the values used in 2025 IRP Mix Study modeling, and also to those from the ELCC study? Please explain.

- Please explain how the company accounted for transmission limits at the generation resource points of interconnection.  For each bid or project requested in these proceedings, please provide the nameplate MW of the generating resources(s), the winter/summer capacity, accredited summer/winter capacity (MW) and provide details regarding any transmission or fuel supply constraints considered in acquiring the resource and that may have affected the resource’s firm capacity.

- Has the Company performed any optimal timing analysis for self-build proposals? If so, please describe what flexibility the Company has on timing of the acquisition of each  proposed resource.  If not, explain why not.  Also, provide a table for each resource indicating the offered start date, and if any range was offered, provide the range, and indicate the specific start date the Company assumes for each resource.

Load and Resource Balance

- Procurement Impacts: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx”

- Describe any approved or ongoing procurement activities (BESS RFP, CARES RFP, DG RFP, etc.) that are planned or underway.

- For each procurement, please indicate if an amount of capacity has been included in the load and resource balance and the support for the assumed capacity contribution.

- For each dispatchable demand-side option (DSO) in the table, please describe any approved or ongoing rate initiatives that may increase the amount of DSO anticipated in years included in the analysis and how those changes are captured in the projected years.

- Load Components: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx”

- Please provide a breakdown of the load forecast utilized for summer and winter between organic growth and load materialization model growth.

- Please explain any adjustments made to the load forecast to account for existing and/or expected energy efficiency demand savings.

- ELCC: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx”

- Explain how the Company is assigning capacity contributions for existing and planned solar resources.

- For each resource provide the nameplate and ELCC % assumed on a summer and winter basis.

- Please explain if the Company is capturing average or incremental/marginal ELCCs in its Load and Resource Tables.

- Please provide the Company’s latest ELCC studies and indicate if the ELCCs in the Load and Resource Table reflect the latest study. If not, explain why not and provide the ELCC study that the Company relied on in developing the Load and Resource Table.

- Changes from 2025 IRP: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx”

- Describe each change that was accounted for between the 2025 IRP and the present filings.

- Please explain any changes related to “2022 IRP SOLAR US RFP 1” and the reason for the decrease in capacity. Are there any additional changes in capacity expected to occur?

- Please explain any changes related to “2022 IRP SOLAR US RFP 2” and the reason for the increase in capacity. Are there any additional changes in capacity expected to occur?

- Please explain any changes that were made related to the “Temp Check” resource and explain the reason for the change.  Please explain how the current value was determined and if it reflects the 2022 IRP, 2023 IRP Update, and/or 2025 IRP approved programs.

- Explain the difference between the 180 MW resource “Winter 2027_2028 BESS RFP” and the 0 MW resource “2023 IRP Update BESS RFP” in the Purchased Generating Capacity Resource section. Please explain if there is any additional capacity expected for the “2023 IRP Update BESS RFP”, if so, provide capacity (nameplate MW and ELCC MW) of the expected additional capacity.

- Yates Firm Transportation: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx” and the Incremental Yates CT Capacity from FT Flexibility:

- Provide a narrative describing the FT flexibility facilitating this short-term capacity.

- How did the Company identify this opportunity?  When did the Company know that this capacity would be available?

- How was the 253 MW of capacity derived? Were the units previously derated or considered non-firm because of a lack of FT? Please explain and provide supporting documentation for the 253 MW calculation.

- Why is this resource providing capacity for only the years 2029 and 2030? Please indicate the months of flexible FT capacity and the source of the flexible FT.  Please describe the additional seasonal capacity availability (summer vs. winter).

- Are there any additional years this resource could be available to provide capacity, possibly earlier than 2029? Please explain.

- Are there any other existing facilities in the Company’s fleet that could be “firmed up” with additional FT or fuel security? Please explain.

- System Reserve Margin and Reserve Sharing: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx” and the footnote that states, “(F) Does not consider planning reserve sharing. Reflects GPC's Target Reserve Margin, resulting from a System Target Reserve Margin of…”

- Has the Company Evaluated the Impact of Large Loads on Target Reserve Margin since the filing of the 2025 IRP? Please explain.

- Please provide a copy of the latest version of the Southern Company System Intercompany Interchange Contract.

- Please provide a narrative explanation of the capacity reserve sharing accounting formula found in the IIC document, and as part of this discuss how recent capacity costs have been priced?

- Why does the Company rely on both a short-term and long-term reserve margin target in developing targets? Please explain.

- Refer to GPC’s Application for the Certification of Supplemental Resources for 2028- 2031 Capacity where the Company states at footnote 2 on page 2, “Georgia Power is evaluating transmission availability above the currently designated winter capacity of 945 MW. Therefore, a 945 MW winter capacity rating is reflected in the evaluations of this resource until the full 1,080 MW is confirmed” regarding the Tenaska PPA CT.

- What is the expected timeline for when GPC is going to be able to confirm the full winter capacity of this resource?

- If there is transmission availability, would the full 1,080 MW of the resource be available prior to 2031?  Please explain.

Aurora

- Load and Resource Table to Aurora Mapping: Refer to the Company’s load and resource balance tables provided in “2029-2031 All-Source RFP Certification Application Needs Charts Workpaper.xlsx” Please map these resources to the Aurora modeled resource.  If the mapped resource does not match in size or ownership, please explain the reason, such as any contract or ownership changes that may have impacted the modeled capacity.

- 2025 IRP Mix Study:

- Did the Company rely on the same B2025 data in the RFP and Supplemental Resource evaluations as was reviewed in the 2025 IRP? Compare and contrast any input table or change set assumptions between the studies.

- Please provide the 2025 IRP Aurora Mix Study input, project, and output files.

- Please provide the revenue requirement and SAM files and “TAS to Aurora” files for the 2025 IRP generic resources and IRP modeling inputs.

- Has the Company updated its B2025 databases to reflect any of the 2025 IRP resource decisions, such as those related to the CT and CC uprates? Please explain.

- For all RFP bid and Supplemental Project evaluations conducted in Aurora, please identify which version(s) of Aurora were utilized for which runs and explain why different versions may have been used (if applicable).

- Aurora Load Forecast: Please provide all workpapers and components used to develop the load forecasts utilized in Aurora for both GPC and Southern Company accounting for any coincident peak adjustments. Provide an accompanying narrative explanation to describe the process.

- Aurora Seasonal ELCC: For any resource modeling implemented in Aurora as an existing resource or new resource, please provide the assumed capacity contribution.  If the Company relies on ELCC tranche modeling or seasonal modeling, please identify the tranche assumption as well as the seasonal assumed capacity contributions for each resource/resource type. Please explain how the Company derives ELCC values for both GPC and Southern Company System analyses.

- Has the Company evaluated the impact of large loads on production cost?

- For the historic years 2016-2024, provide the realized energy requirements, peak demand, and load factor for both the system and Georgia Power.

- For the forecast years 2025-2036, provide the forecasted energy requirements, peak demand, and expected load factor for both the system and Georgia Power.

- Has the Company evaluated the impact that extremely high load factor large load customers may have on fuel and production costs? If so, please provide the evaluation.  If not, explain why not and explain if the Company would anticipate average costs to go up or down and the reason for such an assumption.

- For the RFP resource bid evaluations for PPAs

- Please explain the source of the inputs used to model RFP PPA resources in Aurora.  For example, did you rely on the bid data or the negotiated contracts, did you use general industry knowledge, did you rely on your understanding of the underlying generating unit resource?

- Compare and contrast the contract terms in the PPA to the specific modeled Aurora inputs for each RFP PPA resource.  Describe any simplifying assumptions made and provide any intermediary workpapers that were used to develop the assumptions put into Aurora.

- For the Company Owned Proposal BESS projects

- Please explain how the Company determined the inputs for Aurora modeling of the Resources. For example, did you rely on the bid data or the negotiated contracts, did you use general industry knowledge?   Please explain if the Company assumed any uniform size or operating assumptions for the resources and the basis for those uniform assumptions.

- Compare and contrast the design specifications to the modeled Aurora inputs for each BESS resource. Describe any simplifying assumptions made and provide any intermediary workpapers that were used to develop the assumptions put into Aurora.

- For the Company Owned Proposal BESS + Solar projects

- Please explain how the Company determined the inputs for Aurora modeling of the Resources.  For example, did you rely on the bid data or the negotiated contracts, did you use general industry knowledge?  Did the Company assume the solar resource would charge the BESS and/or would the BESS allow grid charging?  Did the Company assume any interconnection limits would impact the dispatch, please explain.

- Compare and contrast the design specifications to the modeled Aurora inputs for each resource.  Describe any simplifying assumptions made and provide any intermediary workpapers that were used to develop the assumptions put into Aurora.

- For the Company Owned Thermal Proposals projects

- Please explain how the Company determined the inputs for Aurora modeling of the Resources.

- Compare and contrast the design specifications to the modeled Aurora inputs for each resource.   Describe any simplifying assumptions made and provide any intermediary workpapers that were used to develop the assumptions put into Aurora.

- Provide all workpapers deriving fuel costs for existing gas resources and incremental proposed gas resources.  Provide all underlying workpapers for henry hub B2025 natural gas forecasts and fuel adders used to determine the gas prices used in Aurora.

- For the Supplemental project bid evaluations

- Please explain how the Company determined the inputs for Aurora modeling of the Resources.

- Compare and contrast the contracted obligations or design specifications to the modeled Aurora inputs.  Describe any simplifying assumptions made and provide any intermediary workpapers that were used to develop the assumptions put into Aurora.

- What production cost modeling does the Company plan to provide with its B2026 load forecast supplemental filing.  For example, does the Company anticipate it will provide updated Aurora modeling results consistent with all of the information it provided in the initial filing.  If not, why not?

Impacts of Law/Regulatory Change

- Please provide a summary of the change in status of the following federal legislation and EPA guidance since the 2025 IRP.  Explain how the Company’s bid/project evaluation reflects the current status of each:

- Clean Air Act Section 111(b)(d) Greenhouse Gas (“GHG”) rules;

- Effluent Limitation Guidelines (“ELG”);

- Supplemental ELG rules (2024);

- National Ambient Air Quality Standards (“NAAQS”);

- Particulate Matter (PM)

- Has the Company evaluated changes to investment tax credit and product tax credits related to the Inflation Reduction Act and H.B.1 (“Big Beautiful Bill”) signed into law July 4, 2025?

- Please provide a summary of the Company’s understanding of the IRA and HB1 tax credit changes. Provide any summaries or documentation for the Company’s interpretation.

- Please explain how the Company has evaluated the tax credits in the evaluation of the projects identified for approval.

- Does the Company continue to believe the assumptions made for ITC/PTC benefits in the economic evaluations are accurate?

- If the Company does not believe the assumptions used in the evaluation are accurate, please explain if the Company is updating its evaluations.

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of	)

)

Georgia Power Company’s	)

Application for the Certification of Capacity from	)	Docket No. 56298

The 2029-2031 All-Source RFP	)

)

Georgia Power Company’s	)	Docket No. 56310

Application for the Certification of Capacity	)

Supplemental Resources	)

# CERTIFICATE OF SERVICE

I hereby certify that the foregoing Staff’s Data Request STF-PIA-1 in the above-referenced docket was filed with the Commission's Executive Secretary, an electronic copy of same was served upon all parties and persons listed below via electronic mail, or unless otherwise indicated, as follows:

| Sallie Tanner Executive Secretary Georgia Public Service Comm. 244 Washington Street, SW Atlanta, GA 30334 stanner@psc.state.ga.us | Jeremiah Haswell Director, Regulatory Affairs Georgia Power Company Bin 10230 241 Ralph McGill Boulevard, NE Atlanta, GA 30308-3374 JHASWELL@southernco.com | Brandon F. Marzo Steven J. Hewitson Allison W. Pryor Troutman Pepper Hamilton Sanders LLP 600 Peachtree Street NE, Suite 3000 Atlanta, GA 30308-2216 brandon.marzo@troutmansanders.com steven.hewitson@troutman.com allison.pryor@troutman.com |
| --- | --- | --- |
| Justin Pawluk, Staff Attorney Georgia Public Service Commission 244 Washington Street, SW Atlanta, GA 30334 jpawluk@psc.ga.gov | Chris Collado, Staff Attorney Georgia Public Service Commission 244 Washington Street, SW Atlanta, GA 30334 ccollado@psc.ga.gov |  |

So certified, this 4th day of August 2025.

Rob Trokey

Director

Electric Unit

https://www.congress.gov/bill/119th-congress/house-bill/1/text