STF-PIA-32-6

Question:

How is Georgia Power ensuring outage coordination across plants to minimize grid reliability risks?

Response:

Georgia Power Company is  participating in the system level outage scheduling process that reduces system exposure by selecting outage windows to minimize system risk and developing construction schedules to reduce outage duration.